## vSphere 6.7
Guideline ID | Description | Vulnerability Discussion | Configuration Parameter | Desired Value | Default Value | Is desired value the default? | Action Type | Assessment using Web Client | Negative Functional Impact | Remediation using Web Client | vSphere API | ESXi Shell Command Assessment | ESXi Shell Command Remediation | vCLI Command Assessment | vCLI Command Remediation | PowerCLI Command Assessment | PowerCLI Command Remediation | Able to set using Host Profile | Reference | Hardening | Site-Specific Setting | Audit Setting
ESXi.apply-patches | Keep ESXi system properly patched | Bằng cách cập nhật các bản vá ESXi, các lỗ hổng trong trình ảo hóa có thể được giảm thiểu. Kẻ tấn công có thể khai thác các lỗ hổng đã biết khi cố giành quyền truy cập hoặc đặc quyền trên máy chủ ESXi. | N/A | N/A | N/A | Yes | Update | From the vSphere web client select the host and click "Summary". Expand "Configuration" and verify "ESX/ESXi Version" and "Image Profile" strings. Those strings would tell you the current image version of the host. Ensure that the image version is the latest one given by VMware. | None | Employ a process to keep ESXi hosts up to date with patches in accordance with industry-standards and internal guidelines. VMware Update Manager is an automated tool that can greatly assist with this. VMware also publishes Advisories on security patches, and offers a way to subscribe to email alerts for them. https://www.vmware.com/support/policies/security_response | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.PatchManager.Status.html | # esxcli software profile get / # esxcli software vib get | # esxcli software profile update / # esxcli software vib update | # esxcli <conn_options> software profile get / # esxcli <conn_options> software vib get | # esxcli conn_options software profile update / # esxcli conn_options software vib update | # VMware Update Manager PowerCLI Cmdlets can be used to check this feature. See sample scripts here for PowerCLI 11: https://code.vmware.com/docs/7335/powercli-11-0-0-user-s-guide?h=powercli%2011#/doc/GUID-BCD266EC-2A66-4F35-8E2E-0138C10D7007.html | # VMware Update Manager PowerCLI Cmdlets can be used to check this feature. See sample scripts here for PowerCLI 11: https://code.vmware.com/docs/7335/powercli-11-0-0-user-s-guide?h=powercli%2011#/doc/GUID-BCD266EC-2A66-4F35-8E2E-0138C10D7007.html | NO | https://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.update_manager.doc/GUID-D53B8D36-A8D7-4B3B-895C-929267508026.html https://www.vmware.com/support/policies/security_response | TRUE | FALSE | FALSE
ESXi.audit-exception-users | Audit the list of users who are on the Exception Users List and whether the have administrator privleges | Trong vSphere 6.0 trở lên, bạn có thể thêm người dùng vào danh sách Exception Users từ vSphere Web Client. Những người dùng này không bị mất quyền khi máy chủ chuyển sang chế độ khóa. Thông thường, bạn có thể muốn thêm các tài khoản dịch vụ chẳng hạn như tác nhân dự phòng vào danh sách Exception Users. Xác minh rằng danh sách người dùng được miễn mất quyền là hợp pháp và cần thiết theo môi trường của bạn. Người dùng không yêu cầu quyền đặc biệt sẽ không được miễn khỏi chế độ khóa. | N/A | Site-Specific | NULL | No | Audit Only | From the vSphere web client, select host and click on "Configure" -> "Settings" -> "System" -> "Security Profile". Scroll down until "Lockdown Mode". Verify that the list of "Exception Users" is legitimate. | None | From the vSphere web client, select host and click on "Configure" -> "Settings" -> "System" -> "Security Profile". Scroll down until "Lockdown Mode".&nbsp; Click "Edit" and then click on "Exception Users". Add or delete users as per your site requirements. | [5 empty] | #Sample code to check each local user on an ESXi host #against the list in vCenter's exception user list. Also checks #to see if the local user has administrator privleges. # # Provide the username and password of an account on your ESXi hosts. # Provide the name of your vCenter Server $esxusername = "root" $esxpassword = "VMware1!" $vCenterServer = "vcsa.lab.local" #Ensure all connections are dropped. Disconnect-VIServer -Force -server * -Confirm:$False # You may need to provide the username and password of your vCenter server below connect-viserver $vCenterServer $esxihosts = get-vmhost # foreach ($esxihost in $esxihosts) { Write-Host "Host is: " $esxihost Write-host "Exception Users from vCenter" $myhost = Get-VMHost $esxihost ¦ Get-View $lockdown = Get-View $myhost.ConfigManager.HostAccessManager $LDusers = $lockdown.QueryLockdownExceptions() Write-host $LDusers # Connect to each ESXi host in the cluster to retrieve the list of local users. Write-Host "Lockdown user: " $LDuser Write-host "Connecting to: " $esxihost Connect-VIServer -Server $esxihost -user $esxusername -Password $esxpassword #Loop through the list of Exception Users and check to see if they have accounts on #the ESXi server and if that account in an administrator account. foreach ($LDuser in $LDusers) { Write-host "Get-vmhostaccount" $hostaccountname = get-vmhostaccount -ErrorAction SilentlyContinue $LDuser write-host "Check to see if user exists" if ($hostaccountname.Name) Write-Host $hostaccountname.Name { Write-Host "Get-VIPermission" $isadmin = Get-VIPermission -Principal $LDuser -ErrorAction SilentlyContinue ¦ Where {$_.Role –eq “Admin”} Write-host "Admin Role: " $isadmin.Role if ($isadmin.Role -eq "Admin") {Write-Host $LDuser is an "Exception User with Admin accounts on " $esxihost} } Disconnect-VIServer -Server $global:DefaultVIServer -Force -Confirm:$False } } |  | N/A | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-6CD8C2E3-7925-4706-8271-F42F2BCFF95D.html http://blogs.vmware.com/vsphere/2015/03/vsphere-6-0-lockdown-mode-exception-users.html | FALSE | TRUE | FALSE
ESXi.Audit-SSH-Disable | Đảm bảo rằng việc tắt SSH mặc định chưa bị thay | SSH bị tắt theo mặc định trên ESXi. Việc sử dụng SSH cho máy chủ ESXi nên được giới hạn về người dùng và cách sử dụng. Hỗ trợ SSH được kiểm soát thông qua dịch vụ SSH. Dịch vụ này bị dừng theo mặc định. |  | False | Stopped | No | Audit Only | In the vSphere Web Client, select the host in the vCenter inventory. Select Configure. In the System Section, select Security Profile and click Edit. Check that the SSH service is reported as Stopped. | The default setting is Stopped | In the vSphere Web Client, select the host in the vCenter inventory. Select Configure. In the System Section, select Security Profile and click Edit. Check that the SSH service is reported as Stopped. If it is not, press the Stop button and ensure the Startup Policy is set to "Start and Stop Manually" | [5 empty] | #Check to see if the SSH Server Is running foreach ($VMhost in (Get-VMHost)) { $ServiceList = Get-VMHostService -VMhost $VMhost $SSHservice = $ServiceList ¦ Where-Object {$_.Key -eq "TSM-SSH"} If ($SSHservice.Running -eq $True) {Write-Output "SSH Server on host $VMhost is running"} else {Write-Output "SSH Server on host $VMhost is Stopped"} } |  | N/A |  | FALSE | FALSE | TRUE
ESXi.config-ntp | Cấu hình đồng bộ thời gian NTP | Bằng cách đảm bảo rằng tất cả các hệ thống sử dụng nguồn thời gian tương đối giống nhau (including the relevant localization offset),và rằng nguồn thời gian tương đối có thể được tương quan với một tiêu chuẩn thời gian đã thỏa thuận (giờ quốc tế—UTC), bạn có thể đơn giản hơn trong việc theo dõi các hành động liên quan của kẻ xâm nhập khi xem các nhật kí có liên quan. Cài đặt thời gian không chính xác có thể gây khó khăn cho việc kiểm tra và so sánh các tệp nhật ký để phát hiện các cuộc tấn công, đồng thời có thể khiến quá trình kiểm tra không chính xác. | N/A | Site-Specific | NULL | No | Modify | From the vSphere web client select the host and click "Configure" -> "Time Configuration" and click the "Edit..." button. Provide the name/IP of your NTP servers, start the NTP service and change the startup policy to "Start and stop with host". Notes: verify the NTP firewall ports are open. It is recommended to synchronize the ESXi clock with a time server that is located on the management network rather than directly with a time server on a public network. This time server can then synchronize with a public source through a strictly controlled network connection with a firewall. | None | In the vSphere Web Client, select the host in the vCenter inventory. Select Configure -> Settings. In the System Section, select Time Configuration and click Edit. Select "Use Network Time Protocol (Enable NTP client), set the NTP service startup policy, enter the IP addresses of the NTP servers to synchronize with, and click Start or Restart. | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.DateTimeSystem.html | N/A | N/A | # vicfg-ntp <conn_options> --list | # vicfg-ntp conn_options --add IP | # List the NTP Settings for all hosts Get-VMHost ¦ Select Name, @{N="NTPSetting";E={$_ ¦ Get-VMHostNtpServer}} | # Set the NTP Settings for all hosts $NTPServers = "pool.ntp.org", "pool2.ntp.org"Get-VMHost ¦ Add-VmHostNtpServer $NTPServers | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-2553C86E-7981-4F79-B9FC-A6CECA52F6CC.html | FALSE | TRUE | FALSE
ESXi.config-persistent-logs | Configure persistent logging for all ESXi host | ESXi can be configured to store log files on an in-memory file system. This occurs when the host's "/scratch" directory is linked to "/tmp/scratch". When this is done only a single day's worth of logs are stored at any time. In addition log files will be reinitialized upon each reboot. This presents a security risk as user activity logged on the host is only stored temporarily and will not persistent across reboots. This can also complicate auditing and make it harder to monitor events and diagnose issues. ESXi host logging should always be configured to a persistent datastore. | Syslog.global.logDir | Site-Specific | [] /scratch/log | No | Modify | From the vSphere web client select the host and click "Configure" -> "Settings" -> "Advanced System settings". Look for "Syslog.global.logDir" parameter name and ensure that it is not set to "[] /scratch/log" or is not blank. | None | 1. Identify the datastore path where you want to place scratch, then login to the vSphere Web Client. 2. Navigating to the host and select "Configure" and select "Advanced System Settings" in the System panel. 3. Enter "Syslog.global.LogDir" in the filter. Set the "Syslog.global.LogDir" to the desired datastore path. Note: the Syslog.global.LogDir must be set for each host | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html | # esxcli system syslog config get | # esxcli system syslog config set --logDir | # esxcli <conn_options> system syslog config get | # esxcli conn_options system syslog config set --logDir | # List Syslog.global.logDir for each host Get-VMHost ¦ Select Name, @{N="Syslog.global.logDir";E={$_ ¦ Get-VMHostAdvancedConfiguration Syslog.global.logDir ¦ Select -ExpandProperty Values}} | # Set Syslog.global.logDir for each host Get-VMHost ¦ Foreach { Set-VMHostAdvancedConfiguration -VMHost $_ -Name Syslog.global.logDir -Value "NewLocation" } | YES | http://kb.vmware.com/kb/1033696 https://docs.vmware.com/en/VMware-vSphere/6.7/com.vmware.vsphere.security.doc/GUID-9F67DB52-F469-451F-B6C8-DAE8D95976E7.html | FALSE | TRUE | FALSE
ESXi.config-snmp | Đảm bảo đúng cấu hình SNMP | Nếu SNMP không được sử dụng, nó sẽ vẫn bị vô hiệu hóa. Nếu nó đang được sử dụng, the proper trap destination should be configured. Nếu SNMP không được định cấu hình đúng cách, thông tin giám sát có thể được gửi đến một máy chủ độc hại mà sau đó máy chủ này có thể sử dụng thông tin này để lên kế hoạch tấn công. Lưu ý: ESXi 5.1 trở lên hỗ trợ SNMPv3 cung cấp khả năng bảo mật mạnh hơn SNMPv1 hoặc SNMPv2, bao gồm xác thực khóa và mã hóa. Việc quyết định sử dụng phiên bản SNMP nào (v1, v2 hoặc v3) là cài đặt dành riêng cho Trang web. | N/A | site-specific | Disabled | No | Modify | From the vSphere web client select the host and click "Configure" -> "Settings" -> "Security Profile". Look for "SNMP Server" under "Services" section. Its status should be "Stopped" until and unless you are using snmp in your enviornment. | None | You do not configure the SNMP agent with the vSphere Web Client. Use esxcli, PowerCLI, or the vSphere Web Services SDK. | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.SnmpSystem.html | # esxcli system snmp get | # Configure Community String esxcli system snmp set --communities [COMMUNITY] # Configure SNMP Targetesxcli system snmp set --targets [TARGET]@[PORT]/[COMMUNITY] # Enable SNMPesxcli system snmp set --enable True | # esxcli <conn_options> system snmp get | # Configure Community String esxcli conn_options system snmp set --communities [COMMUNITY] # Configure SNMP Target esxcli conn_options system snmp set --targets [TARGET]@[PORT]/[COMMUNITY] # Enable SNMP esxcli conn_options system snmp set --enable True | # List the SNMP Configuration of a host (single host connection required) Get-VMHost ¦ Get-VMHostSnmp | # Update the host SNMP Configuration (single host connection required) Get-VmHostSNMP ¦ Set-VMHostSNMP -Enabled:$True -ReadOnlyCommunity 'secret' | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.monitoring.doc/GUID-8EF36D7D-59B6-4C74-B1AA-4A9D18AB6250.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-4309DE28-AFB6-4B2D-A8EA-A38D36A8C6E6.html SNMP V3 configuration - http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.monitoring.doc/GUID-2E4B0F2A-11D8-4649-AC6C-99F89CE93026.html | FALSE | TRUE | FALSE
ESXi.disable-cim | Cấu hình hoặc vô hiệu hóa CIM. | CIM nên được tắt nếu không được sử dụng. | N/A | False | Enabled | No | Modify | Host -> "Configure" tab -> "System" group -> "Services" | Disabling CIM may affect monitoring and third-party systems that use the WBEM DTMF protocols. |  |  | YES |  |  |  | # Get-VMHostService -VMHost * ¦ Where-Object {$_.Key -eq 'sfcbd-watchdog' -and $_.Running -eq 'True'} # Get-VMHostService -VMHost * ¦ Where-Object {$_.Key -eq 'sfcbd-watchdog' -and $_.Policy -eq 'On'} | # Get-VMHostService -VMHost * ¦ where {$_.Key -eq 'sfcbd-watchdog'} ¦ Set-VMHostService -Policy Off # Get-VMHostService -VMHost * ¦ where {$_.Key -eq 'sfcbd-watchdog'} ¦ Stop-VMHostService | YES |  | TRUE | FALSE | FALSE
ESXi.disable-mob | Vô hiệu hóa Trình duyệt đối tượng được quản lý (MOB) | Trình duyệt đối tượng được quản lý (MOB) cung cấp một cách để khám phá mô hình đối tượng được sử dụng bởi VMkernel để quản lý máy chủ; nó cũng cho phép các cấu hình được thay đổi. Giao diện này được dùng chủ yếu để gỡ lỗi vSphere SDK. Trong Sphere 6.x, tính năng này bị tắt theo mặc định. Hướng dẫn này được đưa ra để nhắc bạn kiểm tra các máy chủ ESXi của mình để đảm bảo rằng không có ai đó đã bật MOB | Config.HostAgent.plugins.solo.enableMob | False | FALSE | Yes | Audit Only | Open the Web Client, Select the settings for the host, Select "Advanced System Settings" and search for "Config.HostAgent.plugins.solo.enableMob". Ensure the value is False (default in 6.0 and later). | None. This is disabled by default. | Open the Web Client, Select the settings for the host, Select "Advanced System Settings" and search for "Config.HostAgent.plugins.solo.enableMob" and set the value to False if it isn't currently False. | N/A | vim-cmd hostsvc/advopt/view Config.HostAgent.plugins.solo.enableMob | vim-cmd hostsvc/advopt/update Config.HostAgent.plugins.solo.enableMob bool True | N/A | N/A | Get-VMHost <host> ¦ Get-AdvancedSetting -Name Config.HostAgent.plugins.solo.enableMob | Get-VMHost <host> ¦ Get-AdvancedSetting -Name Config.HostAgent.plugins.solo.enableMob ¦Set-AdvancedSetting -value "False" | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-0EF83EA7-277C-400B-B697-04BDC9173EA3.html | FALSE | FALSE | TRUE
ESXi.disable-slp | Cấu hình hoặc vô hiệu hóa SLP. | SLP nên được tắt nếu không được sử dụng. | N/A | False | Enabled | No | Modify | Host -> "Configure" tab -> "System" group -> "Services" | Disabling SLP may affect monitoring and third-party systems that use the WBEM DTMF protocols. |  |  | YES |  |  |  | # Get-VMHostService -VMHost * ¦ Where-Object {$_.Key -eq 'slpd' -and $_.Running -eq 'True'} # Get-VMHostService -VMHost * ¦ Where-Object {$_.Key -eq 'slpd' -and $_.Policy -eq 'On'} | # Get-VMHostService -VMHost * ¦ where {$_.Key -eq 'slpd'} ¦ Set-VMHostService -Policy Off # Get-VMHostService -VMHost * ¦ where {$_.Key -eq 'slpd'} ¦ Stop-VMHostService | YES |  | TRUE | FALSE | FALSE
ESXi.enable-ad-auth | Use Active Directory for local user authentication | Thêm các máy chủ ESXi với miền Active Directory (AD) để loại bỏ nhu cầu tạo và duy trì nhiều tài khoản người dùng cục bộ. Việc sử dụng AD để xác thực người dùng giúp đơn giản hóa cấu hình máy chủ ESXi, đảm bảo các chính sách tái sử dụng và độ phức tạp của mật khẩu được thực thi đồng thời giảm nguy cơ vi phạm bảo mật và truy cập trái phép. Lưu ý: nếu tồn tại nhóm AD "Quản trị viên ESX" (mặc định) thì tất cả người dùng và nhóm được chỉ định làm thành viên cho nhóm này sẽ có toàn quyền truy cập quản trị đối với tất cả các máy chủ ESXi trên miền. | N/A | Site-Specific | Local Authentication | No | Add | From the vSphere Web Client, select the host and go to "Configure" -> "Authentication Services". Verify that "Domain" and "Trusted Domain Controller" settings under "Domain Settings" section are configured as appropriate. | None | From the vSphere Web Client, select the host and go to "Configure" -> "Authentication Services" and click the "Join Domain" button. Provide the domain name along with the user credentials for an AD user that has the rights to join computers to the domain. Notes: (1) you can use Host Profiles to automate adding hosts to an AD domain. (2) Consider using the vSphere Authentication proxy to avoid transmitting AD credentials over the network. Refer to the "enable-auth-proxy" recommendation for more information. | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.ActiveDirectoryAuthentication.html | TBD | N/A | vicfg-authconfig <conn_options> --authscheme AD --currentdomain | vicfg-authconfig conn_options ad_conn_options --authscheme AD --joindomain domain_FQDN | # Check each host and their domain membership status Get-VMHost ¦ Get-VMHostAuthentication ¦ Select VmHost, Domain, DomainMembershipStatus | # Join the ESXI Host to the Domain Get-VMHost ¦ Get-VMHostAuthentication ¦ Set-VMHostAuthentication -Domain $domain -User $username -Password $password -JoinDomain | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-4FD32125-4955-439D-B39F-C654CCB207DC.html | FALSE | TRUE | FALSE
ESXi.enable-auth-proxy | Khi thêm các máy chủ ESXi vào Active Directory, hãy sử dụng vSphere Authentication Proxy để bảo vệ mật khẩu | Nếu bạn định cấu hình máy chủ của mình để tham gia miền Active Directory bằng cách sử dụng thông tin máy chủ, thông tin xác thực Active Directory sẽ được lưu trong thông tin máy chủ và được truyền qua mạng. Để tránh phải lưu thông tin xác thực Active Directory trong thông tin máy chủ và để tránh truyền thông tin xác thực Active Directory qua mạng, hãy sử dụng Proxy xác thực vSphere. | N/A | Site-Specific | Disabled | No | Add or Modify | There is no way to audit this using web client if you manually chose to join the host to a domain. If you chose to join the host to domain by attaching a host profile, you can verify that the host profile has been configured to use proxy server for joining the host to domains by follow below steps: Go to "Home" and click on "Host Profiles" under "Monitoring" section. Choose the appropriate host profile and expand "Security and Services" -> "Authentication Configuration" -> "Active Directory Configuration". Verify that the "JoinDomain Method" setting is configured to "Use vSphere Authentication Proxy to add the host to Domain". | None | You can do it in two ways - either from Web Client directly or via Host Profiles. For web client, select the host and click on "Configure" -> "Settings" -> "Authentication Services". Click on "Join Domain" and then select "Using Proxy Server" radio button. Provide proxy server IP address. Using Host profile method, Install and configure the Authentication proxy. From the vSphere web client, navigate to "Host Profiles", select the host profile, select "Configure" -> "Edit Host profile". Expand "Security and Services" -> "Security Settings" -> "Authentication Configuration". Select "Active Directory configuration". Set the "Join Domain Method" to "Use vSphere Authentication Proxy to add the host do domain" and provide the IP address of the authentication proxy. | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.ActiveDirectoryAuthentication.html | N/A | N/A | # vicfg-authconfig <conn_options> --authscheme AD --currentdomain | # vicfg-authconfig conn_options ad_conn_options --authscheme AD --joindomain domain_FQDN | # Check the host profile is using vSphere Authentication proxy to add the host to the domain Get-VMHost ¦ Select Name, ` @{N="HostProfile";E={$_ ¦ Get-VMHostProfile}}, ` @{N="JoinADEnabled";E={($_ ¦ Get-VmHostProfile).ExtensionData.Config.ApplyProfile.Authentication.ActiveDirectory.Enabled}}, ` @{N="JoinDomainMethod";E={(($_ ¦ Get-VMHostProfile).ExtensionData.Config.ApplyProfile.Authentication.ActiveDirectory ¦ Select -ExpandProperty Policy ¦ Where {$_.Id -eq "JoinDomainMethodPolicy"}).Policyoption.Id}}# Check each host and their domain membership statusGet-VMHost ¦ Get-VMHostAuthentication ¦ Select VmHost, Domain, DomainMembershipStatus | # Join the ESXI Host to the Domain Get-VMHost HOST1 ¦ Get-VMHostAuthentication ¦ Set-VMHostAuthentication -Domain domain.local -User Administrator -Password Passw0rd -JoinDomain | YES | http://pubs.vmware.com/vsphere-67/index.jsp?topic=%2Fcom.vmware.vsphere.security.doc%2FGUID-084B74BD-40A5-4A4B-A82C-0C9912D580DC.html | FALSE | TRUE | FALSE
ESXi.enable-chap-auth | Enable bidirectional CHAP, also known as Mutual CHAP, authentication for iSCSI traffic | vSphere cho phép sử dụng xác thực hai chiều đối với cả máy chủ và mục tiêu iSCSI. Việc chọn không xác thực thực thi nghiêm ngặt hơn nữa có thể hợp lý nếu bạn tạo một mạng hoặc VLAN chuyên dụng để phục vụ tất cả các thiết bị iSCSI của mình. By not authenticating both the iSCSI target and host, có khả năng xảy ra một cuộc tấn công MiTM, trong đó kẻ tấn công có thể mạo danh một trong hai bên của kết nối để lấy cắp dữ liệu. Xác thực hai chiều có thể làm giảm rủi ro này Nếu cơ sở iSCSI được cách ly với lưu lượng mạng chung, thì nó sẽ ít bị khai thác hơn | Use Chap, Name, Secret | Site-Specific | No Authentication | No | Add | From the vSphere web client, select a host and click on "Configure" -> "Storage" -> "Storage Adapters".&nbsp; For EACH iSCSI Adapter, scroll for "Authentication" section under "Adapter Details" section -> "Properties" tab. The "Method" parameter should be set to "Use bidirectional CHAP". | None | From the vSphere web client, select a host and click on "Configure" -> "Storage" -> "Storage Adapters" For EACH iSCSI Adapter, scroll for "Authentication" section under "Adapter Details" section -> "Properties" tab. Click "Edit" and configure bidirectional chap authentication. | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.InternetScsiHba.AuthenticationProperties.html | # esxcli iscsi adapter auth chap get | # esxcli iscsi adapter auth chap set | # esxcli <conn_options> iscsi adapter auth chap get | # esxcli iscsi conn_options adapter auth chap set | # List Iscsi Initiator and CHAP Name if defined Get-VMHost ¦ Get-VMHostHba ¦ Where {$_.Type -eq "Iscsi"} ¦ Select VMHost, Device, ChapType, @{N="CHAPName";E={$_.AuthenticationProperties.ChapName}} | # Set the Chap settings for the Iscsi Adapter Get-VMHost ¦ Get-VMHostHba ¦ Where {$_.Type -eq "Iscsi"} ¦ Set-VMHostHba # Use desired parameters here | NO | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.storage.doc/GUID-AC65D747-728F-4109-96DD-49B433E2F266.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-DFC745FB-CDD6-4828-8948-4D0E0561EEF8.html | FALSE | TRUE | FALSE
ESXi.enable-normal-lockdown-mode | Enable Normal Lockdown Mode to restrict access | Việc bật chế độ khóa sẽ vô hiệu hóa quyền truy cập trực tiếp vào máy chủ ESXi được quản lý từ xa từ Máy chủ vCenter.Điều này được thực hiện để đảm bảo các vai trò và kiểm soát truy cập được triển khai trong vCenter luôn được thực thi và người dùng không thể bỏ qua chúng bằng cách đăng nhập trực tiếp vào máy chủ. Bằng cách buộc tất cả các tương tác xảy ra thông qua Máy chủ vCenter, nguy cơ ai đó vô tình đạt được các đặc quyền nâng cao hoặc thực hiện các tác vụ không được kiểm tra đúng cách sẽ giảm đáng kể. key để xác thực người dùng root, người dùng root không bị ngăn truy cập vào máy chủ bằng SSH ngay cả khi máy chủ đang ở chế độ khóa. Lưu ý rằng những người dùng được liệt kê trong DCUI. Danh sách truy cập cho mỗi máy chủ được phép ghi đè chế độ khóa và đăng nhập vào DCUI. Theo mặc định, người dùng ""root"" là người dùng duy nhất được liệt kê trong danh sách DCUI.Access". | vimsvc/auth/lockdown_is_enabled | Enabled | Disabled | No | Modify | From the vSphere web client, select host and click on "Configure" -> "Settings" -> "System" -> "Security Profile". Scroll down until "Lockdown Mode".&nbsp; Verify that "Lockdown Mode" parameter is set to "Enabled (Normal)". | There are some operations, such as backup and troubleshooting, that require direct access to the host. In these cases Lockdown Mode can be disabled on a temporary basis for specific hosts as needed, and then re-enabled when the task is completed. Note: Lockdown mode does not apply to users listed in the DCUI.Access list, which by default includes the root user. Previous versions of the SCG classified this as a "Risk Profile 2 or 3" setting. In the 6.7 SCG the "strict" lockdown mode guideline was the only setting set to "1" which prompted the removal of Risk Profiles all together. This in no means lessens the discussion of "Risk". Most customers should enable at least Normal Lockdown Mode. Those customers that should enable Strict Lockdown Mode need to make that judgement based on their current risk factors as there are serious caveats as called out at the begining of the Negative Functional Impact statement. | From the vSphere web client, select host and click on "Configure" -> "Settings" -> "System" -> "Security Profile". Scroll down until "Lockdown Mode". Click "Edit" and then choose "Normal". | https://code.vmware.com/apis/196/vsphere#/doc/vim.HostSystem.html | # To check if Lockdown mode is enabled: #Note: This will not differentiate between Normal and Strict. #If either are enabled the result will be "True" vim-cmd -U dcui vimsvc/auth/lockdown_is_enabled | # To disable Lockdown mode: vim-cmd -U dcui vimsvc/auth/lockdown_mode_exit #Enabling strict lockdown mode is not supported by vim-cmd. # To enable Normal Lockdown mode: vim-cmd -U dcui vimsvc/auth/lockdown_mode_enter |  |  | # To check if Lockdown mode is enabled Get-VMHost ¦ Select Name,@{N="Lockdown";E={$_.Extensiondata.Config.adminDisabled}} | # Enable lockdown mode for each host Get-VMHost ¦ Foreach { $_.EnterLockdownMode() } | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-88B24613-E8F9-40D2-B838-225F5FF480FF.htmlhttp://kb.vmware.com/kb/1008077 | FALSE | TRUE | FALSE
ESXi.enable-remote-syslog | Configure remote logging for ESXi hosts | Remote logging to a central log host provides a secure, centralized store for ESXi logs. Bằng cách tập hợp các tệp nhật ký máy chủ vào một máy chủ trung tâm, bạn có thể dễ dàng theo dõi tất cả các máy chủ hơn bằng một công cụ duy nhất. Bạn cũng có thể thực hiện phân tích tổng hợp và tìm kiếm để tìm những thứ như tấn công phối hợp trên nhiều máy chủ. Việc đăng nhập vào một máy chủ nhật ký tập trung, an toàn giúp ngăn chặn việc giả mạo nhật ký và cũng cung cấp một bản ghi kiểm toán dài hạn. Để hỗ trợ ghi nhật ký từ xa, VMware cung cấp vSphere Syslog Collector. | Syslog.global.logHost | Site-Specific | NULL | No | Add | From the vSphere Web Client select the host, click "Configure" -> "Advanced Sytem Settings", and enter "Syslog.global.logHost" in the filter. Check whether a syslog host is set. &nbsp; | None | Step 1:&nbsp; Install/Enable a syslog host (vSphere Syslog Collector recommended). Step 2: From the vSphere Web Client select the host and click "Configure" -> "Advanced Sytem Settings", and enter "Syslog.global.logHost" in the filter. Set the "Syslog.global.logHost" to the hostname of your syslog server. Note: when setting a remote log host it is also recommended to set the "Syslog.global.logDirUnique" to True. You must configure the syslog settings for each host. The host syslog parameters can also be configured the vCLI or PowerCLI, or using an API client. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html | # esxcli system syslog config get | # esxcli system syslog config set loghost # esxcli system syslog reload | # esxcli <conn_options> system syslog config get | # esxcli conn_options system syslog config set loghost # esxcli system syslog reload | Get-VMHost ¦ Get-AdvancedSetting -Name Syslog.global.logHost | Get-VMHost ¦ Get-AdvancedSetting -Name Syslog.global.logHost ¦ Set-AdvancedSetting -Value "<insert syslog server hostname>" | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vcli.examples.doc/GUID-7391AF2D-BD74-4ED8-B649-DBB31EB3CB21.html | FALSE | TRUE | FALSE
ESXi.enable-strict-lockdown-mode | Enable Strict lockdown mode to restrict access | Việc kích hoạt chế độ khóa sẽ vô hiệu hóa quyền truy cập trực tiếp vào máy chủ ESXi yêu cầu máy chủ được quản lý từ xa từ Máy chủ vCenter. Điều này được thực hiện để đảm bảo các vai trò và điều khiển truy cập được triển khai trong vCenter luôn được thực thi và người dùng không thể bỏ qua chúng bằng cách đăng nhập trực tiếp vào máy chủ. Bằng cách buộc tất cả tương tác xảy ra thông qua Máy chủ vCenter, nguy cơ ai đó vô tình đạt được các đặc quyền nâng cao hoặc thực hiện các tác vụ không được kiểm tra đúng cách sẽ giảm đi đáng kể. Strict lockdown mode stops the DCUI service. Tuy nhiên, các dịch vụ ESXi Shell và SSH không phụ thuộc vào chế độ khóa. Để chế độ khóa trở thành một biện pháp bảo mật hiệu quả, hãy đảm bảo rằng dịch vụ SSH và ESXi Shell cũng bị tắt. Những dịch vụ này bị tắt theo mặc định. Khi máy chủ đang ở chế độ khóa, người dùng trong danh sách người dùng hạn chế có thể truy cập máy chủ từ ESXi Shell và thông qua SSH nếu họ có vai trò Quản trị viên trên máy chủ và nếu các dịch vụ này được bật. This access is possible even in strict lockdown mode. Rời khỏi dịch vụ ESXi Shell và dịch vụ SSH bị vô hiệu hóa là tùy chọn an toàn nhất. | vimsvc/auth/lockdown_is_enabled | Enabled | Disabled | No | Modify | From the vSphere Web Client, select the host and click on "Configure" -> "Settings" -> "System" -> "Security Profile". Scroll down to "Lockdown Mode".; Verify that "Lockdown Mode" parameter is set to "Enabled (Strict)". | In strict lockdown mode, introduced in vSphere 6.0, the DCUI service is stopped. If the connection to vCenter Server is lost and the vSphere Web Client is no longer available, the ESXi host becomes unavailable unless the ESXi Shell and SSH services are enabled and Exception Users are defined. If you cannot restore the connection to the vCenter Server system, you have to reinstall the host. Previous versions of the SCG classified this as a "Risk Profile 1" setting. In the 6.7 SCG this was the only setting set to "1" which prompted the removal of Risk Profiles all together. This in no means lessens the discussion of "Risk". Most customers should enable at least Normal Lockdown Mode. Those customers that should enable Strict Lockdown Mode need to make that judgement based on their current risk factors as there are serious caveats as called out at the begining of the Negative Functional Impact statement. | From the vSphere web client, select host and click on "Configure" -> "Settings" -> "System" -> "Security Profile". Scroll down to "Lockdown Mode".&nbsp; Click "Edit" and then choose "Strict". | https://code.vmware.com/apis/196/vsphere#/doc/vim.HostSystem.html | # To check if Lockdown mode is enabled: #Note: This will not differentiate between Normal and Strict. #If either are enabled the result will be "True" vim-cmd -U dcui vimsvc/auth/lockdown_is_enabled | # To disable Lockdown mode: vim-cmd -U dcui vimsvc/auth/lockdown_mode_exit #Enabling strict lockdown mode is not supported by vim-cmd. # To enable Normal Lockdown mode: vim-cmd -U dcui vimsvc/auth/lockdown_mode_enter |  |  | # To check if Lockdown mode is enabled Get-VMHost ¦ Select Name,@{N="Lockdown";E={$_.Extensiondata.Config.adminDisabled}} #To display the mode $esxihosts = get-vmhost foreach ($esxihost in $esxihosts) { $myhost = Get-VMHost $esxihost ¦ Get-View $lockdown = Get-View $myhost.ConfigManager.HostAccessManager Write-Host "——————————–" $lockdown.UpdateViewData() $lockdownstatus = $lockdown.LockdownMode Write-Host "Lockdown mode on $esxihost is set to $lockdownstatus" Write-Host "——————————–" } | #Run this at the vCenter level or against an individual host #Create HostLockdownMode object $level = New-Object VMware.Vim.HostLockdownMode #Populate with level of lockdown:(lockdownDisabled,lockdownNormal,lockdownStrict) $level = "lockdownStrict" $esxihosts = get-vmhost foreach ($esxihost in $esxihosts) { $myhost = Get-VMHost $esxihost ¦ Get-View $lockdown = Get-View $myhost.ConfigManager.HostAccessManager Write-Host "——————————–" Write-Host "Setting Lockdown mode to " $level $lockdown.ChangeLockdownMode($level) $lockdown.UpdateViewData() $lockdownstatus = $lockdown.LockdownMode Write-Host "Lockdown mode on $esxihost is set to $lockdownstatus" Write-Host "——————————–" } | N/A | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-88B24613-E8F9-40D2-B838-225F5FF480FF.html | FALSE | TRUE | FALSE
ESXi.firewall-restrict-access | Configure the ESXi host firewall to restrict access to services running on the host | Quyền truy cập không hạn chế vào các dịch vụ chạy trên máy chủ ESXi có thể khiến máy chủ gặp phải các cuộc tấn công từ bên ngoài và truy cập trái phép. Giảm rủi ro bằng cách định cấu hình tường lửa ESXi để chỉ cho phép truy cập từ các mạng được ủy quyền. Hướng dẫn này tập trung cụ thể vào hai loại truy cập. SSH ( được tắt theo mặc định) và vSphere Web Access đang chạy trên Cổng 80. Việc sửa đổi các quy tắc tường lửa cho bất kỳ dịch vụ nào khác có thể có tác động tiêu cực đến hoạt động chung. Các phương pháp hay nhất nêu rõ rằng ESXi và vCenter nên chạy trong một mạng riêng biệt. Hướng dẫn này sẽ chỉ ra cách giới hạn quyền truy cập vào SSH và máy chủ Web trong phạm vi địa chỉ IP để hạn chế hơn nữa phạm vi dễ bị tổn thương. | N/A | Site-Specific | Connections are allowed from any IP address | No | Modify | From the vSphere web client, select the host and click "Configure" -> "Settings" -> "System" -> "Security Profile". Verify that for enabled services, both incoming and outgoing connections, a proper network/IP Range is selected (the 3rd column should not be "All"). | Only systems in the IP whitelist/ACL will be able to connect to services on the ESXi server | From the vSphere web client, select the host and click "Configure" -> "Settings" -> "System" -> "Security Profile". For each enabled services for both incoming and outgoing connections set a proper network/IP Range after deselecting "Allow connections from any IP address" checkbox. | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.ServiceSystem.html |  |  | N/A | N/A | # List the services which are enabled and have rules defined for specific IP ranges to access the service Get-VMHost ¦ Get-VMHostFirewallException ¦ Where {$_.Enabled -and (-not $_.ExtensionData.AllowedHosts.AllIP)} # List the services which are enabled and do not have rules defined for specific IP ranges to access the service Get-VMHost ¦ Get-VMHostFirewallException ¦ Where {$_.Enabled -and ($_.ExtensionData.AllowedHosts.AllIP)} | Please see documentation for the following cmdlets. Get-VMHostFirewallException Set-VMHostFirewallException Get-VMHostFirewallDefaultPolicy Set-VMHostFirewallDefaultPolicy | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-8912DD42-C6EA-4299-9B10-5F3AEA52C605.html | FALSE | TRUE | FALSE
ESXi.set-account-auto-unlock-time | Set the time after which a locked account is automatically unlocked | Việc đăng nhập nhiều tài khoản không thành công cho cùng một tài khoản có thể là a threat vector đang cố gắng tấn công hệ thống hoặc gây ra tình trạng từ chối dịch vụ. Những nỗ lực tấn công hệ thống như vậy nên được hạn chế bằng cách khóa tài khoản sau khi đạt đến ngưỡng. Trong trường hợp, bạn muốn tự động mở khóa tài khoản, tức là mở khóa tài khoản mà không cần thao tác quản trị, hãy đặt thời gian mà tài khoản vẫn bị khóa. Việc đặt thời lượng cao mà tài khoản vẫn bị khóa sẽ ngăn cản và làm chậm phương thức đăng nhập bằng vũ lực một cách máy chủ. | Security.AccountUnlockTime | 900 | 120 | No | Modify | From the vSphere Web Client select the host, click "Configure" -> "Settings" -> "System" -> "Advanced Sytem Settings". Enter "Security.AccountUnlockTime" in the filter. Verify that the value for this parameter is set to 900. | None | From the vSphere Web Client select the host, click "Configure" -> "Settings" -> "System" -> "Advanced Sytem Settings". Enter "Security.AccountUnlockTime" in the filter. Click edit and set the value for this parameter to 900. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html |  |  |  |  | Get-VMHost ¦ Get-AdvancedSetting -Name Security.AccountUnlockTime | Get-VMHost ¦ Get-AdvancedSetting -Name Security.AccountUnlockTime ¦ Set-AdvancedSetting -Value 900 | YES | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-DC96FFDB-F5F2-43EC-8C73-05ACDAE6BE43.html | FALSE | TRUE | TRUE
ESXi.set-account-lockout | Set the count of maximum failed login attempts before the account is locked out | Lỗi đăng nhập nhiều tài khoản cho cùng một tài khoản có thể có thể là một vectơ đe dọa đang cố gắng cưỡng chế hệ thống hoặc gây ra tình trạng từ chối dịch vụ. Những cuộc tấn công brute force như vậy đối với hệ thống nên được hạn chế bằng cách khóa tài khoản sau khi đạt đến ngưỡng. | Security.AccountLockFailures | 3 | 10 | No | Modify | From the vSphere Web Client select the host, click "Configure" -> "Settings" -> "System" -> "Advanced Sytem Settings". Enter "Security.AccountLockFailures" in the filter. Verify that the value for this parameter is set to 3. | The account would be locked out and would require administrative action to unlock the account or an elapse time for the account to automatically unlock. | From the vSphere Web Client select the host, click "Configure" -> "Settings" -> "System" -> "Advanced Sytem Settings". Enter "Security.AccountLockFailures" in the filter. Click edit and set the value for this parameter to 3. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html |  |  |  |  | Get-VMHost ¦ Get-AdvancedSetting -Name Security.AccountLockFailures | Get-VMHost ¦ Get-AdvancedSetting -Name Security.AccountLockFailures ¦ Set-AdvancedSetting -Value 3 | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-DC96FFDB-F5F2-43EC-8C73-05ACDAE6BE43.html | FALSE | TRUE | TRUE
ESXi.set-dcui-access | Set DCUI.Access to allow trusted users to override lockdown mode | Chế độ khóa sẽ vô hiệu hóa quyền truy cập máy chủ trực tiếp yêu cầu quản trị viên quản lý máy chủ từ Máy chủ vCenter. Tuy nhiên, nếu máy chủ bị cô lập khỏi Máy chủ vCenter, quản trị viên sẽ bị khóa và không thể quản lý máy chủ được nữa. Nếu bạn đang sử dụng chế độ khóa thông thường, bạn có thể tránh bị khóa khỏi máy chủ ESXi đang chạy ở chế độ khóa bằng cách đặt DCUI. Truy cập vào danh sách người dùng được tin tưởng cao có thể ghi đè chế độ khóa và truy cập DCUI. The DCUI is not running in strict lockdown mode. | DCUI.Access | List of authorized users | root | No | Add | From the vSphere Web Client select the host, click "Configure" -> "Settings" -> "System" -> "Advanced Sytem Settings". Enter "DCUI.Access" in the filter. Verify that the list of users is legitimate. It should ideally contain root and any other local users who are authorized to override lockdown mode. | None | From the vSphere Web Client select the host, click "Configure" -> "Settings" -> "System" -> "Advanced Sytem Settings". Enter "DCUI.Access" in the filter. Enter comma separated user accounts who are authorized to access DCUI even in case of lockdown mode. Caution: Do not remove root user. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html | vim-cmd hostsvc/advopt/view DCUI.Access | vim-cmd hostsvc/advopt/update DCUI.Access string [USERS] | N/A | N/A | Get-VMHost ¦ Get-AdvancedSetting -Name DCUI.Access | Get-VMHost ¦ Get-AdvancedSetting -Name DCUI.Access ¦ Set-AdvancedSetting -Value "root" | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-6779F098-48FE-4E22-B116-A8353D19FF56.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-88B24613-E8F9-40D2-B838-225F5FF480FF.html | FALSE | TRUE | FALSE
ESXi.set-dcui-timeout | Audit DCUI timeout value | DCUI được dùng để đăng nhập trực tiếp vào máy chủ ESXi và thực hiện các nhiệm vụ quản lý máy chủ. Các kết nối vô hiệu đến DCUI phải được chấm dứt để tránh mọi trường hợp sử dụng DCUI ngoài ý muốn bắt nguồn từ phiên đăng nhập còn lại. | UserVars.DcuiTimeOut | 600 | 600 | Yes | Audit Only | From the vSphere Web Client select the host, click "Configure" -> "Settings" -> "System" -> "Advanced Sytem Settings". Enter "UserVars.DcuiTimeOut" in the filter. Verify that the value for this parameter is set to 600. | None | From the vSphere Web Client select the host, click "Configure" -> "Settings" -> "System" -> "Advanced Sytem Settings". Enter "UserVars.DcuiTimeOut" in the filter. Click edit and set the value for this parameter to 600 or more restrictive. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html |  |  |  |  | Get-VMHost ¦ Get-AdvancedSetting -Name UserVars.DcuiTimeOut | Get-VMHost ¦ Get-AdvancedSetting -Name UserVars.DcuiTimeOut ¦ Set-AdvancedSetting -Value 600 | YES | ​​​ | FALSE | TRUE | TRUE
ESXi.set-password-policies | Establish a password policy for password complexity | ESXi sử dụng plug-in pam_passwdqc.so để đặt độ phức tạp và độ mạnh của mật khẩu. Điều quan trọng là sử dụng mật khẩu không dễ đoán và khó xác định đối với người tạo mật khẩu. Độ mạnh của mật khẩu và các quy tắc phức tạp áp dụng cho tất cả người dùng ESXi, bao gồm cả root. Chúng không áp dụng cho người dùng Active Directory khi máy chủ lưu trữ ESX được kết nối với một miền. Các chính sách mật khẩu đó được AD thực thi. | Security.PasswordQualityControl | Site-Specific | "retry=3 min=disabled,disabled,disabled,7,7" | No | Audit Only | From vSphere web client, select host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for Security.PasswordQualityControl to see the configured value. It should be set as default value or more restrictive. | None | From vSphere web client, select host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for Security.PasswordQualityControl to see the configured value. Set it to the default value or more restrictive. | N/A | N/A | N/A | N/A | N/A | Get-VMHost ¦ Get-AdvancedSetting -Name Security.PasswordQualityControl | Get-VMHost ¦ Get-AdvancedSetting -Name Security.PasswordQualityControl ¦ Set-AdvancedSetting -Value "similar=deny retry=3 min=disabled,disabled,disabled,disabled,15" | YES | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-DC96FFDB-F5F2-43EC-8C73-05ACDAE6BE43.html | FALSE | TRUE | FALSE
ESXi.set-shell-interactive-timeout | Set a timeout to automatically terminate idle ESXi Shell and SSH sessions | Nếu người dùng quên đăng xuất khỏi phiên SSH của họ, kết nối không hoạt động sẽ vẫn mở vô thời hạn, làm tăng khả năng ai đó có quyền truy cập đặc quyền vào máy chủ. ESXiShellInteractiveTimeOut cho phép bạn tự động chấm dứt các phiên shell không hoạt động. | UserVars.ESXiShellInteractiveTimeOut | 900 | 0 | No | Modify | From vSphere web client, select host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for UserVars.ESXiShellInteractiveTimeOut to see the configured value. It should be set to desired value or more restrictive. | None | From vSphere web client, select host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for UserVars.ESXiShellInteractiveTimeOut to see the configured value. Click edit and set it to the desired value or more restrictive. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html | # esxcli --formatter=csv --format-param=fields="Path,Int Value" system settings advanced list ¦ grep /UserVars/ESXiShellInteractiveTimeOut | # esxcli system settings advanced set -o /UserVars/ESXiShellInteractiveTimeOut -i | # esxcli --formatter=csv --format-param=fields="Path,Int Value" system settings advanced list ¦ grep /UserVars/ESXiShellInteractiveTimeOut | # esxcli conn_options system settings advanced set -o /UserVars/ESXiShellInteractiveTimeOut -i | Get-VMHost ¦ Get-AdvancedSetting -Name UserVars.ESXiShellInteractiveTimeOut | Get-VMHost ¦ Get-AdvancedSetting -Name UserVars.ESXiShellInteractiveTimeOut ¦ Set-AdvancedSetting -Value 900 | NO | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-94F0C54F-05E3-4E16-8027-0280B9ED1009.html http://kb.vmware.com/kb/2004746 | FALSE | TRUE | FALSE
ESXi.set-shell-timeout | Set a timeout to limit how long the ESXi Shell and SSH services are allowed to run | Khi dịch vụ ESXi Shell hoặc SSH được kích hoạt trên máy chủ, chúng sẽ chạy vô thời hạn. Để tránh để các dịch vụ này chạy, hãy đặt ESXiShellTimeOut. ESXiShellTimeOut xác định một khoảng thời gian mà sau đó các dịch vụ ESXi Shell và SSH sẽ tự động bị chấm dứt. | UserVars.ESXiShellTimeOut | 900 | 0 | No | Modify | From vSphere web client, select host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for UserVars.ESXiShellTimeOut to see the configured value. It should be set to desired value or more restrictive. | None | From vSphere web client, select host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for UserVars.ESXiShellTimeOut to see the configured value. Click edit and set it to the desired value or more restrictive. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html | # esxcli --formatter=csv --format-param=fields="Path,Int Value" system settings advanced list ¦ grep /UserVars/ESXiShellTimeOut | # esxcli system settings advanced set -o /UserVars/ESXiShellTimeOut -i | # esxcli --formatter=csv --format-param=fields="Path,Int Value" system settings advanced list ¦ grep /UserVars/ESXiShellTimeOut | # esxcli conn_options system settings advanced set -o /UserVars/ESXiShellTimeOut -i | Get-VMHost ¦ Get-AdvancedSetting -Name UserVars.ESXiShellTimeOut | Get-VMHost ¦ Get-AdvancedSetting -Name UserVars.ESXiShellTimeOut ¦ Set-AdvancedSetting -Value 900 | NO | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-B314F79B-2BDD-4D68-8096-F009B87ACB33.html http://kb.vmware.com/kb/2004746 | FALSE | TRUE | TRUE
ESXi.TransparentPageSharing-intra-enabled | Ensure default setting for intra-VM TPS is correct | Acknowledgement of the recent academic research that leverages Transparent Page Sharing (TPS) to gain unauthorized access to data under certain highly controlled conditions and documents VMware’s precautionary measure of restricting TPS to individual virtual machines by default in upcoming ESXi releases. At this time, VMware believes that the published information disclosure due to TPS between virtual machines is impractical in a real world deployment. VMs that do not have the sched.mem.pshare.salt option set cannot share memory with any other VMs. | Mem.ShareForceSalting | 2 | 2 | Yes | Audit Only | From the vSphere Web Client, select a host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for Mem.ShareForceSalting. Verify that it is set to 2. |  | From vSphere Web Client, select a host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for Mem.ShareForceSalting. Click edit and set it to 2. | [5 empty] | Get-VMHost ¦ Get-AdvancedSetting -Name Mem.ShareForceSalting | Get-VMHost ¦ Get-AdvancedSetting -Name Mem.ShareForceSalting ¦ Set-AdvancedSetting -Value 2 | YES | ​https://kb.vmware.com/kb/2080735 ​https://kb.vmware.com/kb/2097593 ​https://kb.vmware.com/kb/2091682 | FALSE | FALSE | TRUE
ESXi.verify-acceptance-level-supported | Verify Image Profile and VIB Acceptance Levels | Xác minh Cấu hình hình ảnh ESXi để chỉ cho phép các VIB đã ký. VIB chưa được ký đại diện cho mã chưa được kiểm tra được cài đặt trên máy chủ ESXi. Cấu hình Hình ảnh ESXi hỗ trợ bốn cấp độ chấp nhận: (1) VMwareCertified - VIB được tạo, kiểm tra và ký bởi VMware (2) VMwareAccepted - VIB được tạo bởi đối tác VMware nhưng được VMware kiểm tra và ký, (3) PartnerSupported - VIB được tạo, kiểm tra và ký bởi đối tác VMware được chứng nhận (4) CommunitySupported - VIB chưa được thử nghiệm bởi VMware hoặc đối tác của VMware. Community Supported VIBs không được hỗ trợ và không có chữ ký số. Để bảo vệ tính bảo mật và tính toàn vẹn của các máy chủ ESXi của bạn, không cho phép cài đặt các VIB chưa được ký (CommunitySupported) trên các máy chủ của bạn. | N/A | VMware Certified, VMware Accepted or Partner Supported | Partner Supported | No | Audit Only | From vSphere web client, select host and then click "Configure" -> "System" -> "Security Profile". Scroll down until you see "Host Image Profile Acceptance Level". Verify that the "Acceptance Level" parameter is set to "VMware Accepted", "VMware Certified" or "Partner Supported". | Host customization using custom unsigned VIBs is not allowed. | From vSphere web client, select host and then click "Configure" -> "System" -> "Security Profile". Scroll down until you see "Host Image Profile Acceptance Level". Click "Edit" and set the "Acceptance Level" parameter to the desired value. The Default value is "Partner Supported" which will work with Secure Boot for ESXi 6.5 or greater. | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.ImageConfigManager.AcceptanceLevel.html | # esxcli software acceptance get # esxcli software vib list | # esxcli software acceptance set --level | # esxcli <connection_options> software acceptance get # esxcli software vib list | # esxcli <connection_options> software acceptance set --level | # List the Software AcceptanceLevel for each host Foreach ($VMHost in Get-VMHost ) { $ESXCli = Get-EsxCli -VMHost $VMHost $VMHost ¦ Select Name, @{N="AcceptanceLevel";E={$ESXCli.software.acceptance.get()}}} # List only the vibs which are not at "VMwareCertified" or "VMwareAccepted" or "PartnerSupported" acceptance level Foreach ($VMHost in Get-VMHost ) { $ESXCli = Get-EsxCli -VMHost $VMHost $ESXCli.software.vib.list() ¦ Where { ($_.AcceptanceLevel -ne "VMwareCertified") -and ($_.AcceptanceLevel -ne "VMwareAccepted") -and ($_.AcceptanceLevel -ne "PartnerSupported") }} | # Set the Software AcceptanceLevel for each host Foreach ($VMHost in Get-VMHost ) { $ESXCli = Get-EsxCli -VMHost $VMHost $ESXCli.software.acceptance.Set("VMwareCertified")} | YES | http//pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.install.doc/GUID-56600593-EC2E-4125-B1A0-065BDD16CF2D.html http//pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-751034F3-5337-4DB2-8272-8DAC0980EACA.html | FALSE | TRUE | TRUE
VM.disable-console-copy | Explicitly disable copy/paste operations | Theo mặc định, các thao tác sao chép và dán bị tắt. Tuy nhiên, nếu bạn vô hiệu hóa tính năng này một cách rõ ràng, có thể kiểm tra xem cài đặt này có đúng không. | isolation.tools.copy.disable | TRUE | TRUE | Yes | Add | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | This is the default setting so functionality remains the same | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/358/vsphere#/doc/vim.option.OptionValue.html | grep -i "isolation.tools.copy.disable" [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo isolation.tools.copy.disable | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "isolation.tools.copy.disable" ¦ where {$_.value -eq "False"} ¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "isolation.tools.copy.disable" -value $True | N/A | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-367D02C1-B71F-4AC3-AA05-85033136A667.html | FALSE | FALSE | TRUE
VM.disable-console-paste | Explicitly disable copy/paste operations | Theo mặc định, các thao tác sao chép và dán bị tắt. Tuy nhiên, nếu bạn vô hiệu hóa tính năng này một cách rõ ràng, có thể kiểm tra xem cài đặt này có đúng không. | isolation.tools.paste.disable | TRUE | TRUE | Yes | Add | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | None | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/358/vsphere#/doc/vim.option.OptionValue.html | grep -i isolation.tools.paste.disable [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo isolation.tools.paste.disable | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "isolation.tools.paste.disable" ¦ where {$_.value –eq “False”} ¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "isolation.tools.paste.disable" -value $True | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-367D02C1-B71F-4AC3-AA05-85033136A667.html | FALSE | FALSE | TRUE
VM.disable-disk-shrinking-shrink | Disable virtual disk shrinking | Gộp đĩa ảo sẽ lấy lại không gian chưa sử dụng trong đó. Bản thân quá trình gộp diễn ra trên máy chủ, làm giảm kích thước tệp của đĩa bằng dung lượng đĩa được lấy lại trong quá trình xóa. Nếu có không gian trống trong đĩa, quá trình này sẽ làm giảm dung lượng mà đĩa ảo chiếm trên ổ đĩa máy chủ. Người dùng và quy trình bình thường—tức là người dùng và quy trình không có quyền root hoặc quyền quản trị viên—trong các máy ảo có khả năng gọi quy trình này. Người dùng không phải root không thể xóa các phần của đĩa ảo yêu cầu quyền ở cấp độ gốc. Tuy nhiên, nếu điều này được thực hiện nhiều lần, đĩa ảo có thể không khả dụng trong khi quá trình gộp này đang được thực hiện, gây ra sự từ chối dịch vụ. Trong hầu hết các môi trường trung tâm dữ liệu, quá trình thu nhỏ ổ đĩa không được thực hiện, vì vậy bạn nên tắt tính năng này. Việc thu hẹp ổ đĩa nhiều lần có thể khiến ổ đĩa ảo không khả dụng. Khả năng giới hạn có sẵn cho người dùng không phải quản trị viên trong khách. | isolation.tools.diskShrink.disable | TRUE | FALSE | No | Add | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | Inability to shrink virtual machine disks in the event that a datastore runs out of space. | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/358/vsphere#/doc/vim.option.OptionValue.html | grep -i "isolation.tools.diskShrink.disable" [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo isolation.tools.diskWiper.disable | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "isolation.tools.diskShrink.disable" ¦ where {$_.value –eq “False”} ¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "isolation.tools.diskShrink.disable" -value $True | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-9610FE65-3A78-4982-8C28-5B34FEB264B6.html | TRUE | FALSE | FALSE
VM.disable-disk-shrinking-wiper | Disable virtual disk shrinking | Gộp đĩa ảo sẽ lấy lại không gian chưa sử dụng trong đó. Bản thân quá trình gộp diễn ra trên máy chủ, làm giảm kích thước tệp của đĩa bằng dung lượng đĩa được lấy lại trong quá trình xóa. Nếu có không gian trống trong đĩa, quá trình này sẽ làm giảm dung lượng mà đĩa ảo chiếm trên ổ đĩa máy chủ. Người dùng và quy trình bình thường—tức là người dùng và quy trình không có quyền root hoặc quyền quản trị viên—trong các máy ảo có khả năng gọi quy trình này. Người dùng không phải root không thể xóa các phần của đĩa ảo yêu cầu quyền ở cấp độ gốc. Tuy nhiên, nếu điều này được thực hiện nhiều lần, đĩa ảo có thể không khả dụng trong khi quá trình gộp này đang được thực hiện, gây ra sự từ chối dịch vụ. Trong hầu hết các môi trường trung tâm dữ liệu, quá trình thu nhỏ ổ đĩa không được thực hiện, vì vậy bạn nên tắt tính năng này. Việc thu hẹp ổ đĩa nhiều lần có thể khiến ổ đĩa ảo không khả dụng. Khả năng giới hạn có sẵn cho người dùng không phải quản trị viên trong khách. | isolation.tools.diskWiper.disable | TRUE | FALSE | No | Add | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | Inability to shrink virtual machine disks in the event that a datastore runs out of space. | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/358/vsphere#/doc/vim.option.OptionValue.html | grep -i "isolation.tools.diskWiper.disable" [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo isolation.tools.diskWiper.disable | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "isolation.tools.diskWiper.disable" ¦ where {$_.value –eq “False”} ¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "isolation.tools.diskWiper.disable" -value $True | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-9610FE65-3A78-4982-8C28-5B34FEB264B6.html | TRUE | FALSE | FALSE
VM.disable-independent-nonpersistent | Avoid using independent nonpersistent disks | The security issue with nonpersistent disk mode is that successful attackers, chỉ cần tắt hoặc khởi động lại đơn giản, có thể hoàn tác hoặc xóa bất kỳ dấu vết nào mà chúng đã từng có trên máy. Để bảo vệ chống lại rủi ro này, các máy ảo phải được đặt để sử dụng persistent disk mode; ngoài ra, hãy đảm bảo rằng hoạt động trong VM được ghi lại từ xa trên một máy chủ riêng biệt, chẳng hạn như máy chủ nhật ký hệ thống hoặc trình thu thập sự kiện dựa trên Windows tương đương. Nếu không có bản ghi hoạt động liên tục trên máy ảo, quản trị viên có thể không bao giờ biết liệu họ đã bị tấn công hay hack. | scsiX:Y.mode | One of the following: * Not present (defaults to Persistent if blank) * Explicitly set to Persistent *Set to Independent-Persistent | Persistent | No | Add | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | Won’t be able to make use of nonpersistent mode, which allows rollback to a known state when rebooting the VM. | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/358/vsphere#/doc/vim.option.OptionValue.html | grep -i "^scsi[0-9]*:[0-9]*.mode" [VMX] | N/A | 1. vifs --server [SERVER] --username [USERNAME] --password [PASSWORD] -g "[DATASTORE] VM/VM.vmx" VM.vmx 2. grep -i "^scsi[0-9]*:[0-9]*.mode" [VMX] | N/A | #List the VM's and their disk types Get-VM ¦ Get-HardDisk ¦ where {$_.Persistence –ne “Persistent”} ¦ Select Parent, Name, Filename, DiskType, Persistence | #Alter the parameters for the following cmdlet to set the VM Disk Type: Get-VM ¦ Get-HardDisk ¦ Set-HardDisk | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-1E583D6D-77C7-402E-9907-80B7F478D3FC.html | FALSE | FALSE | TRUE
VM.disable-non-essential-3D-features | Disable 3D features on Server and desktop virtual machines | Chúng tôi đề xuất nên tắt 3D trên các máy ảo không yêu cầu chức năng 3D, (ví dụ: máy chủ hoặc máy tính để bàn không sử dụng ứng dụng 3D). | mks.enable3d | FALSE | FALSE | Yes | Add | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | Configuring this setting to False will not allow 3D functionality to run in the virtual machine. Use of this setting on desktop systems that require 3D is not recommended. | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/358/vsphere#/doc/vim.option.OptionValue.html | grep -I mks.enable3d [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo mks.enable3d | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "mks.enable3d"¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "mks.enable3d" -value $False | N/A |  | FALSE | TRUE | TRUE
VM.disconnect-devices-floppy | Disconnect unauthorized devices | Đảm bảo rằng không có thiết bị nào được kết nối với máy ảo nếu không cần thiết. Ví dụ: serial and parallel ports are rarely used for virtual machines in a datacenter environment,và ổ đĩa CD/DVD thường chỉ được kết nối tạm thời trong quá trình cài đặt phần mềm. Đối với các thiết bị ít được sử dụng hơn mà không bắt buộc, thì thông số này không được xuất hiện hoặc giá trị của nó phải là Falé. LƯU Ý: Các thông số được liệt kê là không đủ để đảm bảo rằng một thiết bị có thể sử dụng được; thiết bị đã bật hoặc được kết nối đại diện cho một kênh tấn công tiềm ẩn. Khi cài đặt được đặt thành False, chức năng sẽ bị tắt, tuy nhiên thiết bị vẫn có thể hiển thị với hệ điều hành khách. | floppyX.present | not present or False | FALSE | No |  | Ensure that the following parameter is NOT present or is set to False, unless Floppy drives are required: floppyX.present | Virtual machine will need to be powered off to reverse change if any of these devices are needed at a later time. |  | https://code.vmware.com/apis/358/vsphere#/doc/vim.vm.device.VirtualDevice.html | grep -i "^floppy[0-9]*.present" [VMX] | N/A | 1. vifs --server [SERVER] --username [USERNAME] --password [PASSWORD] -g "[DATASTORE] VM/VM.vmx" VM.vmx 2. grep -i "^floppy[0-9]*.present" [VMX] | N/A | # Check for Floppy Devices attached to VMs Get-VM ¦ Get-FloppyDrive ¦ Select Parent, Name, ConnectionState | # Remove all Floppy drives attached to VMs Get-VM ¦ Get-FloppyDrive ¦ Remove-FloppyDrive | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-600D24C8-0F77-4D96-B273-A30F256B29D4.html | FALSE | FALSE | TRUE
VM.disconnect-devices-parallel | Disconnect unauthorized devices | Đảm bảo rằng không có thiết bị nào được kết nối với máy ảo nếu không cần thiết. Ví dụ: serial and parallel ports are rarely used for virtual machines in a datacenter environment,và ổ đĩa CD/DVD thường chỉ được kết nối tạm thời trong quá trình cài đặt phần mềm. Đối với các thiết bị ít được sử dụng hơn mà không bắt buộc, thì thông số này không được xuất hiện hoặc giá trị của nó phải là Falé. LƯU Ý: Các thông số được liệt kê là không đủ để đảm bảo rằng một thiết bị có thể sử dụng được; thiết bị đã bật hoặc được kết nối đại diện cho một kênh tấn công tiềm ẩn. Khi cài đặt được đặt thành False, chức năng sẽ bị tắt, tuy nhiên thiết bị vẫn có thể hiển thị với hệ điều hành khách. | parallelX.present | not present or False | FALSE | No |  | Ensure that the following parameter is NOT present or is set to False, unless Parallel ports are required: parallelX.present | Virtual machine will need to be powered off to reverse change if any of these devices are needed at a later time. |  | https://code.vmware.com/apis/358/vsphere#/doc/vim.vm.device.VirtualDevice.html | grep -i "^parallel[0-9]*.present" [VMX] | N/A | 1. vifs --server [SERVER] --username [USERNAME] --password [PASSWORD] -g "[DATASTORE] VM/VM.vmx" VM.vmx 2. grep -i "^parallel[0-9]*.present" [VMX] | N/A | # In this Example you will need to add the functions from this post: http://blogs.vmware.com/vipowershell/2012/05/working-with-vm-devices-in-powercli.html # Check for Parallel ports attached to VMs Get-VM ¦ Get-ParallelPort | # In this Example you will need to add the functions from this post: http://blogs.vmware.com/vipowershell/2012/05/working-with-vm-devices-in-powercli.html # Remove all Parallel Ports attached to VMs Get-VM ¦ Get-ParallelPort ¦ Remove-ParallelPort | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-600D24C8-0F77-4D96-B273-A30F256B29D4.html | FALSE | TRUE | TRUE
VM.disconnect-devices-serial | Disconnect unauthorized devices | Đảm bảo rằng không có thiết bị nào được kết nối với máy ảo nếu không cần thiết. Ví dụ: serial and parallel ports are rarely used for virtual machines in a datacenter environment,và ổ đĩa CD/DVD thường chỉ được kết nối tạm thời trong quá trình cài đặt phần mềm. Đối với các thiết bị ít được sử dụng hơn mà không bắt buộc, thì thông số này không được xuất hiện hoặc giá trị của nó phải là Falé. LƯU Ý: Các thông số được liệt kê là không đủ để đảm bảo rằng một thiết bị có thể sử dụng được; thiết bị đã bật hoặc được kết nối đại diện cho một kênh tấn công tiềm ẩn. Khi cài đặt được đặt thành False, chức năng sẽ bị tắt, tuy nhiên thiết bị vẫn có thể hiển thị với hệ điều hành khách. | serialX.present | not present or False |  | No |  | Ensure that the following parameter is NOT present or is set to False, unless Serial ports are required: serialX.present | Virtual machine will need to be powered off to reverse change if any of these devices are needed at a later time. |  | https://code.vmware.com/apis/358/vsphere#/doc/vim.vm.device.VirtualDevice.html | grep -i "^serial[0-9]*.present" [VMX] | N/A | 1. vifs --server [SERVER] --username [USERNAME] --password [PASSWORD] -g "[DATASTORE] VM/VM.vmx" VM.vmx 2. grep -i "^floppy[0-9]*.present" [VMX] | N/A | # In this Example you will need to add the functions from this post: http://blogs.vmware.com/vipowershell/2012/05/working-with-vm-devices-in-powercli.html # Check for Serial ports attached to VMs Get-VM ¦ Get-SerialPort | # In this Example you will need to add the functions from this post: http://blogs.vmware.com/vipowershell/2012/05/working-with-vm-devices-in-powercli.html # Remove all Serial Ports attached to VMs Get-VM ¦ Get-SerialPort ¦ Remove-SerialPort | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-600D24C8-0F77-4D96-B273-A30F256B29D4.html | FALSE | TRUE | TRUE
VM.limit-setinfo-size | Limit informational messages from the VM to the VMX file | Tệp cấu hình chứa các cặp tên-giá trị này được giới hạn ở kích thước 1 MB. Dung lượng 1MB này là đủ cho hầu hết các trường hợp nhưng bạn có thể thay đổi giá trị này nếu cần. Bạn có thể tăng giá trị này nếu lượng lớn thông tin tùy chỉnh được lưu trữ trong tệp cấu hình. Giới hạn mặc định là 1 MB; giới hạn này được áp dụng ngay cả khi thông số sizeLimit không được liệt kê trong tệp .vmx. Kích thước không được kiểm soát đối với tệp VMX có thể dẫn đến từ chối dịch vụ nếu kho dữ liệu bị lấp đầy. | tools.setInfo.sizeLimit | 1048576 | 1048576 | Yes | Add | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | None | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/358/vsphere#/doc/vim.option.OptionValue.html | grep -i "tools.setInfo.sizeLimit" [VMX} | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo tools.setInfo.sizeLimit | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "tools.setInfo.sizeLimit" ¦ where {$_.Value –gt “1048576”} ¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "tools.setInfo.sizeLimit" -value 1048576 | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-91BF834E-CB92-4014-8CF7-29CE40F3E8A3.html | FALSE | FALSE | TRUE
VM.minimize-console-VNC-use | Control access to VM console via VNC protocol | Bảng điều khiển máy ảo cho phép bạn kết nối với bảng điều khiển của một máy ảo, thực tế là xem màn hình trên máy chủ vật lý sẽ hiển thị những gì. Bảng điều khiển này cũng có sẵn thông qua giao thức VNC. Thiết lập quyền truy cập này cũng liên quan đến việc thiết lập quy tắc tường lửa trên mỗi máy chủ ESXi mà máy ảo sẽ chạy trên đó. | RemoteDisplay.vnc.enabled | FALSE | FALSE | Yes | Audit Only | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | None | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionValue.html | grep -i "RemoteDisplay.vnc.enabled" [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo RemoteDisplay.vnc.enabled | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "RemoteDisplay.vnc.enabled" ¦ where {$_.Value –eq “True”} ¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "RemoteDisplay.vnc.enabled" -value $False | N/A |  | FALSE | FALSE | TRUE
VM.restrict-host-info | Do not send host information to guests | Bằng cách cho phép VM lấy thông tin chi tiết về máy chủ vật lý, kẻ thù có thể sử dụng thông tin này để thông báo cho các cuộc tấn công tiếp theo vào máy chủ. Nếu được đặt thành True, máy ảo có thể lấy thông tin chi tiết về máy chủ vật lý. *Giá trị mặc định cho tham số là False nhưng được hiển thị dưới dạng NULL. Đặt thành Sai hoàn toàn dành cho mục đích kiểm tra.* Cài đặt này không được đúng trừ khi một máy ảo cụ thể yêu cầu thông tin này để theo dõi hiệu suất. | tools.guestlib.enableHostInfo | FALSE | FALSE | Yes | Audit Only | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | Unable to retrieve performance information about the host from inside the guest, there are times when this can be useful for troubleshooting. | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/358/vsphere#/doc/vim.option.OptionValue.html | grep -i "tools.guestlib.enableHostInfo" [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo tools.guestlib.enableHostInfo | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "tools.guestlib.enableHostInfo"¦ where {$_.Value –eq “True”} ¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "tools.guestlib.enableHostInfo" -value $False | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-2CF880DA-2435-4201-9AFB-A16A11951A2D.html https://www.vmware.com/pdf/vmware-tools-101-standalone-user-guide.pdf | FALSE | TRUE | TRUE
VM.TransparentPageSharing-inter-VM-Enabled | Check for enablement of salted VM's that are sharing memory pages | When salting is enabled (Mem.ShareForceSalting=1 or 2) in order to share a page between two virtual machines both salt and the content of the page must be same. A salt value is a configurable vmx option for each virtual machine. You can manually specify the salt values in the virtual machine's vmx file with the new vmx option sched.mem.pshare.salt. If this option is not present in the virtual machine's vmx file, then the value of vc.uuid vmx option is taken as the default value. Since the vc.uuid is unique to each virtual machine, by default TPS happens only among the pages belonging to a particular virtual machine (Intra-VM). If a group of virtual machines are considered trustworthy, it is possible to share pages among them by setting a common salt value for all those virtual machines (inter-VM). Default value is null. When this happens the VM has a random salt value generated. | sched.mem.pshare.salt | Site-Specific | NULL | No | Remove, Modify | From the vSphere Web Client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. If there is a non-null value and that value is common to more than one virtual machine, those virtual machines have inter-VM TPS enabled. | Running with Inter-VM page sharing should only be done between virtual machines that are trust-worthy. | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then edit the desired configuration parameter with the desired value. |  | grep -i "sched.mem.pshare.salt" [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo sched.mem.pshare.salt | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "Mem.ShareForceSalting" ¦ where {$_.Value –eq “1”} ¦ Select Entity, Name, Value | # Add the setting to all VMs $ vmsaltvalue = "<some unique value>" Get-VM ¦ New-AdvancedSetting -Name "sched.mem.pshare.salt" -value $vmsaltvalue | NO | https://kb.vmware.com/kb/2080735 ​https://kb.vmware.com/kb/2097593 ​https://kb.vmware.com/kb/2091682 | FALSE | TRUE | TRUE
VM.verify-network-filter | Control access to VMs through the dvfilter network APIs | Kẻ tấn công có thể xâm phạm máy ảo bằng cách sử dụng API dvFilter. Chỉ định cấu hình các máy ảo đó để sử dụng API cần quyền truy cập này. Cài đặt này được coi là nguyên tắc "Audit Only". Nếu có giá trị hiện tại, quản trị viên nên kiểm tra để đảm bảo giá trị đó là chính xác. | ethernetX.filterX.name = filtername | NULL unless using dvfilter | NULL | No | Audit Only | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. If a VM is not supposed to be protected by a product using the dvfilter API, ensure that the following is not present in its VMX file: ethernet0.filter1.name = dv-filter1where “ethernet0” is the network adaptor interface of the virtual machine that is to be protected, “filter1” is the number of the filter that is being used, and “dv-filter1” is the name of the particular data path kernel module that is protecting the VM. If the VM is supposed to be protected, ensure that the name of the data path kernel is set correctly. | incorrectly configuring this option can negatively impact functionality of tools that use dvFilter API's. | From the vSphere web client, select each VM and click "Configure" -> "Settings" -> "VM Options". Click "Edit". Go to "VM Options" tab and expand "Advanced". Click on "Edit Configuration". Click on "Add Row" and then add the desired configuration parameter with the desired value. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionValue.html | grep -i "^ethernet[0-9]*.filter[0-9]*.name" [VMX] | N/A | 1. vifs --server [SERVER] --username [USERNAME] --password [PASSWORD] -g "[DATASTORE] VM/VM.vmx" VM.vmx 2. grep -i "^ethernet[0-9]*.filter[0-9]*.name" [VMX] | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "ethernet*.filter*.name*" ¦ Select Entity, Name, Value |  | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-CD0783C9-1734-4B9A-B821-ED17A77B0206.htmlUpdated reference URL | FALSE | TRUE | TRUE
VM.verify-PCI-Passthrough | Audit all uses of PCI or PCIe passthrough functionality | Việc sử dụng tính năng VMware DirectPath I/O để chuyển qua thiết bị PCI hoặc PCIe tới máy ảo dẫn đến lỗ hổng bảo mật tiềm ẩn. Lỗ hổng bảo mật có thể được kích hoạt bởi lỗi hoặc mã độc chạy ở chế độ đặc quyền trong HĐH khách, chẳng hạn như phần cứng và chương trình cơ sở tiêu chuẩn ngành hiện không có đủ hỗ trợ ngăn chặn lỗi để ESXi có thể đóng lỗ hổng hoàn toàn. There can be a valid business reason for a VM to have this configured. This is an audit-only guideline. Bạn nên biết những máy ảo nào được định cấu hình với sự truyền trực tiếp của các thiết bị PCI và PCIe và đảm bảo rằng hệ điều hành khách của chúng được theo dõi cẩn thận để phát hiện các trình điều khiển độc hại hoặc có lỗi có thể làm hỏng máy chủ. | pciPassthru*.present | FALSE | FALSE | Yes | Audit Only | From the vSphere Web Client, select each VM and click "Configure" -> "Settings" -> "VM Options". Expand "Advanced Settings". Scroll the list of "Configuration Parameters" and ensure that the desired configuration parameter is present with the desired value. | A buggy or malicious driver in the guest OS could cause a fault with the physical host resulting in a host crash | From the vSphere Web Client, select each VM and click "Configure" -> "Settings" -> "Virtual Hardware" -> Remove the PCI/PCIe passthrough device. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html | grep -i "pciPassthru*.present" [VMX] | N/A | vmware-cmd --server [SERVER] --username [USERNAME] --password [PASSWORD] /vmfs/volumes/[DATASTORE]/[VM]/[VM].vmx getguestinfo pciPassthru*.present | N/A | # List the VMs and their current settings Get-VM ¦ Get-AdvancedSetting -Name "pciPassthru*.present" ¦ Select Entity, Name, Value | # Add the setting to all VMs Get-VM ¦ New-AdvancedSetting -Name "pciPassthru*.present" -value "" | N/A | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.powercli.ug.doc/GUID-0E922C7E-67DF-4A05-B4C0-013FC4EC60F4.html | FALSE | TRUE | TRUE
vNetwork.enable-bpdu-filter | Enable BPDU filter on the ESXi host to prevent being locked out of physical switch ports with Portfast and BPDU Guard enabled | BPDU Guard and Portfast are commonly enabled on the physical switch to which the ESXi host is directly connected to reduce the STP convergence delay. Nếu một gói BPDU được gửi từ một máy ảo trên máy chủ ESXi đến công tắc vật lý được định cấu hình như vậy, thì có thể xảy ra khóa tầng đối với tất cả các giao diện đường lên từ máy chủ ESXi. Để ngăn kiểu khóa này, Bộ lọc BPDU có thể được bật trên máy chủ ESXi để loại bỏ bất kỳ gói BPDU nào được gửi đến bộ chuyển mạch vật lý. Thông báo trước là SSL VPN nhất định sử dụng khả năng bắc cầu của Windows có thể tạo các gói BPDU một cách hợp pháp. Quản trị viên nên xác minh rằng không có gói BPDU hợp lệ nào được tạo bởi các máy ảo trên máy chủ ESXi trước khi bật Bộ lọc BPDU. Nếu Bộ lọc BPDU được bật trong tình huống này, thì việc bật Từ chối truyền giả mạo trên nhóm cổng chuyển đổi ảo sẽ bổ sung khả năng bảo vệ chống lại các vòng lặp Spanning Tree. Trong 6.7 SCG, điều này đã được thay đổi thành cài đặt Dành riêng cho trang web để phù hợp hơn với mục đích hướng dẫn. Bạn cần sử dụng BPDU ở chế độ khách và đã định cấu hình BPDU trên bộ chuyển đổi phần cứng. | Net.BlockGuestBPDU | 1 | 0 | No | Modify | From vSphere Web Client, select the host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for Net.BlockGuestBPDU to see the configured value. It should be set to the desired value. | None | From vSphere Web cClient, select the host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for Net.BlockGuestBPDU to see the configured value. Click edit and set it to the desired value. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html | esxcli system settings advanced list -o /Net/BlockGuestBPDU | esxcli system settings advanced set -o /Net/BlockGuestBPDU -i 0 | esxcli <conn_options> system settings advanced list -o /Net/BlockGuestBPDU | esxcli conn_options system settings advanced set -o /Net/BlockGuestBPDU -i 0 | Get-VMHost ¦ Get-AdvancedSetting -Name Net.BlockGuestBPDU | Get-VMHost ¦ Get-AdvancedSetting -Name Net.BlockGuestBPDU ¦ Set-AdvancedSetting -Value 1 | N/A | http://kb.vmware.com/kb/2017193 http://kb.vmware.com/kb/2047822 http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-FA661AE0-C0B5-4522-951D-A3790DBE70B4.html | FALSE | TRUE | FALSE
vNetwork.limit-network-healthcheck | Enable VDS network healthcheck only if you need it | Network Healthcheck bị tắt theo mặc định. Sau khi được bật, các gói kiểm tra sức khỏe chứa thông tin về máy chủ #, vds# cổng #, kẻ tấn công sẽ thấy hữu ích. Bạn nên sử dụng tính năng Network Healthcheck để khắc phục sự cố và tắt khi quá trình khắc phục sự cố kết thúc. | N/A | Disabled | Disabled | Yes | Audit Only | From the vSphere Web Client, select each VDS and go to "Configure" -> "Settings" -> Health check". Verify that "VLAN and MTU Check" and "Teaming and Failover Check" are both "Disabled". | None | From the vSphere Web Client, select each VDS and go to "Configure" -> "Settings" -> Health check". Click "Edit" and set "VLAN and MTU Check" and "Teaming and Failover Check" to "Disabled". | https://code.vmware.com/apis/358/vsphere#/doc/vim.DistributedVirtualSwitch.HealthCheckConfig.html | N/A | N/A | N/A | N/A | $vds = Get-VDSwitch $vds.ExtensionData.Config.HealthCheckConfig | Get-View -ViewType DistributedVirtualSwitch ¦ ?{($_.config.HealthCheckConfig ¦ ?{$_.enable -notmatch "False"})}¦ %{$_.UpdateDVSHealthCheckConfig(@((New-Object Vmware.Vim.VMwareDVSVlanMtuHealthCheckConfig -property @{enable=0}),(New-Object Vmware.Vim.VMwareDVSTeamingHealthCheckConfig -property @{enable=0})))} | N/A | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-C590B7D3-4E28-4F2B-8A59-4CDB9C6F2DAA.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.networking.doc/GUID-4A6C1E1C-8577-4AE6-8459-EEB942779A82.html | FALSE | FALSE | TRUE
vNetwork.reject-forged-transmit-dvportgroup | Ensure that the “Forged Transmits” policy is set to reject | Nếu hệ điều hành máy ảo thay đổi địa chỉ MAC, hệ điều hành có thể gửi các khung có địa chỉ MAC nguồn mạo danh bất cứ lúc nào. Điều này cho phép hệ điều hành thực hiện các cuộc tấn công nguy hiểm vào các thiết bị trong mạng bằng cách mạo danh bộ điều hợp mạng được ủy quyền bởi receiving network. Khi tùy chọn Truyền giả mạo được đặt thành Chấp nhận, ESXi không so sánh các địa chỉ MAC nguồn và địa chỉ MAC hiệu dụng. Để bảo vệ chống mạo danh MAC, bạn có thể đặt tùy chọn Truyền giả mạo thành Từ chối. Nếu bạn làm như vậy, máy chủ sẽ so sánh địa chỉ MAC nguồn được truyền bởi hệ điều hành khách với địa chỉ MAC hiệu quả cho bộ điều hợp máy ảo của nó để xem chúng có khớp không. Nếu các địa chỉ không khớp, máy chủ ESXi sẽ hủy gói. | N/A | Reject | Reject | Yes | Audit Only | From vSphere web client, for each portgroup within each distributed switch go to "Configure" -> "Settings" -> "Policies". Verify that "Forged transmits" policy is set to "Reject". | This will prevent VMs from changing their effective MAC address. This will affect applications that require this functionality. An example of an application like this is Microsoft Clustering, which requires systems to effectively share a MAC address. This will also affect how a layer 2 bridge will operate. This will also affect applications that require a specific MAC address for licensing. An exception should be made for the dvPortgroups that these applications are connected to. | From vSphere Web Client, for each portgroup within each distributed switch go to "Configure" -> "Settings" -> "Policies" and click "Edit". Go to "Security" and set the "Forged transmits" policy to "Reject". | https://code.vmware.com/apis/358/vsphere#/doc/vim.dvs.DistributedVirtualPortgroup.PortgroupPolicy.html | N/A | N/A | N/A | N/A | Get-VDSwitch ¦ Get-VDSecurityPolicy Get-VDPortgroup ¦ ?{$_.IsUplink -eq $False} ¦ Get-VDSecurityPolicy | Get-VDSwitch ¦ Get-VDSecurityPolicy ¦ Set-VDSecurityPolicy -ForgedTransmits $False Get-VDPortgroup ¦ ?{$_.IsUplink -eq $False} ¦ Get-VDSecurityPolicy ¦ Set-VDSecurityPolicy -ForgedTransmits $False | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.networking.doc/GUID-891147DD-3E2E-45A1-9B50-7717C3443DD7.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-C590B7D3-4E28-4F2B-8A59-4CDB9C6F2DAA.html | FALSE | FALSE | TRUE
vNetwork.reject-forged-transmit-StandardSwitch | Ensure that the “Forged Transmits” policy is set to reject | Nếu hệ điều hành máy ảo thay đổi địa chỉ MAC, thì hệ điều hành có thể gửi các khung có địa chỉ MAC nguồn mạo danh bất kỳ lúc nào. Điều này cho phép hệ điều hành thực hiện các cuộc tấn công độc hại vào các thiết bị trong mạng bằng cách mạo danh bộ điều hợp mạng được ủy quyền bởi receiving network. Truyền giả mạo được thiết lập là Chấp nhận theo mặc định. Điều này có nghĩa là công tắc ảo không so sánh nguồn và địa chỉ MAC hiệu quả. Để bảo vệ chống lại việc mạo danh địa chỉ MAC, tất cả các công tắc ảo phải đặt các đường truyền giả mạo thành Từ chối. Từ chối truyền giả mạo có thể được đặt ở cấp vSwitch và/hoặc cấp Portgroup. Bạn có thể ghi đè cài đặt mức chuyển đổi ở cấp Portgroup.(Đã chỉnh sửa)Khôi phục văn bản gốc | N/A | Reject | Accept | No | Modify | From the vSphere Web Client select the host and click "Configure" -> "Networking" -> "Virtual Switches". For each virtual switch and for each port group within that virtual switch, click edit. Go to "Security" and verify that "Forged Transmits" is set to "Reject". | This will prevent VMs from changing their effective MAC address. This will affect applications that require this functionality. An example of an application like this is Microsoft Clustering, which requires systems to effectively share a MAC address. This will also affect how a layer 2 bridge will operate. This will also affect applications that require a specific MAC address for licensing. An exception should be made for the port groups that these applications are connected to. | From the vSphere Web Client select the host and click "Configure" -> "Networking" -> "Virtual Switches". For each virtual switch and for each port group within that virtual switch, click edit. Go to "Security" and set the "Forged Transmits" to "Reject". | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.NetworkPolicy.SecurityPolicy.html | # esxcli network vswitch standard policy security get -v [VSWITCH] | # esxcli network vswitch standard policy security set -v vSwitch2 -f False | # esxcli <conn_options> network vswitch standard policy security get -v [VSWITCH] | # esxcli conn_options vswitch standard policy security set -v vSwitch2 -f False | Get-VirtualSwitch ¦ Get-SecurityPolicy Get-VirtualPortGroup ¦ Get-SecurityPolicy | Get-VirtualSwitch ¦ Get-SecurityPolicy ¦ Set-SecurityPolicy -ForgedTransmits $False Get-VirtualPortGroup ¦ Get-SecurityPolicy ¦ Set-SecurityPolicy -ForgedTransmitsInherited $True | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-7DC6486F-5400-44DF-8A62-6273798A2F80.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.networking.doc/GUID-891147DD-3E2E-45A1-9B50-7717C3443DD7.html | TRUE | FALSE | FALSE
vNetwork.reject-mac-changes-dvportgroup | Ensure that the “MAC Address Changes” policy is set to reject | Nếu hệ điều hành máy ảo thay đổi địa chỉ MAC, nó có thể gửi các khung có địa chỉ MAC nguồn mạo danh bất kỳ lúc nào. Điều này cho phép nó thực hiện các cuộc tấn công nguy hiểm vào các thiết bị trong mạng bằng cách mạo danh một bộ điều hợp mạng được mạng nhận ủy quyền. Điều này sẽ ngăn máy ảo thay đổi địa chỉ MAC hiệu quả của chúng. Nó sẽ ảnh hưởng đến các ứng dụng yêu cầu chức năng này. Một ví dụ về ứng dụng như thế này là Microsoft Clustering, yêu cầu các hệ thống chia sẻ địa chỉ MAC một cách hiệu quả. Điều này cũng sẽ ảnh hưởng đến cách một cây cầu lớp 2 sẽ hoạt động. Điều này cũng sẽ ảnh hưởng đến các ứng dụng yêu cầu một địa chỉ MAC cụ thể để cấp phép. Cần tạo một ngoại lệ cho các nhóm dvPort mà các ứng dụng này được kết nối. | N/A | Reject | Reject | Yes | Audit Only | From vSphere web client, for each portgroup within each distributed switch go to "Configure" -> "Settings" -> "Policies". Verify that "MAC address changes" policy is set to "Reject". | This will prevent VMs from changing their effective MAC address. It will affect applications that require this functionality. An example of an application like this is Microsoft Clustering, which requires systems to effectively share a MAC address. This will also affect how a layer 2 bridge will operate. This will also affect applications that require a specific MAC address for licensing. An exception should be made for the dvPortgroups that these applications are connected to. | From vSphere web client, for each portgroup within each distributed switch go to "Configure" -> "Settings" -> "Policies" and click "Edit". Go to "Security" and set the "MAC address changes" policy to "Reject". | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.NetworkPolicy.SecurityPolicy.html | N/A | N/A | N/A | N/A | Get-VDSwitch ¦ Get-VDSecurityPolicy Get-VDPortgroup ¦ Get-VDSecurityPolicy | Get-VDSwitch ¦ Get-VDSecurityPolicy ¦ Set-VDSecurityPolicy -MacChanges $False Get-VDPortgroup ¦ Get-VDSecurityPolicy ¦ Set-VDSecurityPolicy -MacChanges $False | N/A | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-C590B7D3-4E28-4F2B-8A59-4CDB9C6F2DAA.html | FALSE | FALSE | TRUE
vNetwork.reject-mac-changes-StandardSwitch | Ensure that the “MAC Address Changes” policy is set to reject | Nếu hệ điều hành máy ảo thay đổi địa chỉ MAC, nó có thể gửi các khung có địa chỉ MAC nguồn mạo danh bất kỳ lúc nào. Điều này cho phép nó thực hiện các cuộc tấn công nguy hiểm vào các thiết bị trong mạng bằng cách mạo danh một bộ điều hợp mạng được mạng nhận ủy quyền. Điều này sẽ ngăn máy ảo thay đổi địa chỉ MAC hiệu quả của chúng. Nó sẽ ảnh hưởng đến các ứng dụng yêu cầu chức năng này. Một ví dụ về ứng dụng như thế này là Microsoft Clustering, yêu cầu các hệ thống chia sẻ địa chỉ MAC một cách hiệu quả. Điều này cũng sẽ ảnh hưởng đến cách một cây cầu lớp 2 sẽ hoạt động. Điều này cũng sẽ ảnh hưởng đến các ứng dụng yêu cầu một địa chỉ MAC cụ thể để cấp phép. Cần tạo một ngoại lệ cho các nhóm dvPort mà các ứng dụng này được kết nối. | N/A | Reject | Reject | Yes | Audit Only | From the vSphere web client select the host and click "Configure" -> "Networking" -> "Virtual Switches". For each virtual switch and for each port group within that virtual switch, click edit. Go to "Security" and verify that "MAC address changes" is set to "Reject". | This will prevent VMs from changing their effective MAC address. It will affect applications that require this functionality. An example of an application like this is Microsoft Clustering, which requires systems to effectively share a MAC address. This will also affect how a layer 2 bridge will operate. This will also affect applications that require a specific MAC address for licensing. An exception should be made for the port groups that these applications are connected to. | From the vSphere web client select the host and click "Configure" -> "Networking" -> "Virtual Switches". For each virtual switch and for each port group within that virtual switch, click edit. Go to "Security" and set the "MAC address changes" to "Reject". | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.VirtualSwitch.Config.html | # esxcli network vswitch standard policy security get -v [VSWITCH] | # esxcli network vswitch standard policy security set -v vSwitch2 -m False | # esxcli <conn_options> network vswitch standard policy security get -v [VSWITCH] | # esxcli conn_options vswitch standard policy security set -v vSwitch2 -m False | Get-VirtualSwitch ¦ Get-SecurityPolicy Get-VirtualPortGroup ¦ Get-SecurityPolicy | Get-VirtualSwitch ¦ Get-SecurityPolicy ¦ Set-SecurityPolicy -MacChanges $False Get-VirtualPortGroup ¦ Get-SecurityPolicy ¦ Set-SecurityPolicy -MacChangesInherited $True | N/A | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-942BD3AA-731B-4A05-8196-66F2B4BF1ACB.html | TRUE | FALSE | FALSE
vNetwork.reject-promiscuous-mode-dvportgroup | Ensure that the “MAC Address Changes” policy is set to reject | Khi chế độ hỗn tạp được bật cho một dvPortgroup, tất cả các máy ảo được kết nối với dvPortgroup đều có khả năng đọc tất cả các gói trên mạng đó, nghĩa là chỉ các máy ảo được kết nối với dvPortgroup đó. Chế độ hỗn hợp bị tắt theo mặc định trên Máy chủ ESXI và đây là cài đặt được đề xuất. Tuy nhiên, có thể có lý do chính đáng để bật tính năng này nhằm mục đích gỡ lỗi, giám sát hoặc khắc phục sự cố. Các thiết bị bảo mật có thể yêu cầu khả năng xem tất cả các gói trên vSwitch. Cần tạo một ngoại lệ cho các nhóm dvPort mà các ứng dụng này được kết nối tới, để cho phép hiển thị toàn thời gian đối với lưu lượng truy cập trên nhóm dvPort đó. Không giống như các vSwitch tiêu chuẩn, các dvSwitch chỉ cho phép Chế độ hỗn tạp ở cấp độ dvPortgroup | N/A | Reject | Reject | Yes | Audit Only | From vSphere web client, for each portgroup within each distributed switch go to "Configure" -> "Settings" -> "Policies". Verify that "Promiscuous Mode" policy is set to "Reject". | Security devices that require the ability to see all packets on a vSwitch will not operate properly if the “Promiscuous Mode” parameter is set to “Reject.” | From vSphere web client, for each portgroup within each distributed switch go to "Configure" -> "Settings" -> "Policies" and click "Edit". Go to "Security" and set the "Promiscuous Mode" policy to "Reject". | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.VirtualSwitch.Config.html | N/A | N/A | N/A | N/A | Get-VDSwitch ¦ Get-VDSecurityPolicy Get-VDPortgroup ¦ Get-VDSecurityPolicy | Get-VDSwitch ¦ Get-VDSecurityPolicy ¦ Set-VDSecurityPolicy -AllowPromiscuous $False Get-VDPortgroup ¦ Get-VDSecurityPolicy ¦ Set-VDSecurityPolicy -AllowPromiscuous $False | N/A | ​http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-C590B7D3-4E28-4F2B-8A59-4CDB9C6F2DAA.html | FALSE | FALSE | TRUE
vNetwork.reject-promiscuous-mode-StandardSwitch | Ensure that the “MAC Address Changes” policy is set to reject | Khi chế độ hỗn tạp được bật cho một dvPortgroup, tất cả các máy ảo được kết nối với dvPortgroup đều có khả năng đọc tất cả các gói trên mạng đó, nghĩa là chỉ các máy ảo được kết nối với dvPortgroup đó. Chế độ hỗn hợp bị tắt theo mặc định trên Máy chủ ESXI và đây là cài đặt được đề xuất. Tuy nhiên, có thể có lý do chính đáng để bật tính năng này nhằm mục đích gỡ lỗi, giám sát hoặc khắc phục sự cố. Các thiết bị bảo mật có thể yêu cầu khả năng xem tất cả các gói trên vSwitch. Cần tạo một ngoại lệ cho các nhóm dvPort mà các ứng dụng này được kết nối tới, để cho phép hiển thị toàn thời gian đối với lưu lượng truy cập trên nhóm dvPort đó. Không giống như các vSwitch tiêu chuẩn, các dvSwitch chỉ cho phép Chế độ hỗn tạp ở cấp độ dvPortgroup | N/A | Reject | Reject | Yes | Audit Only | From the vSphere Web Client select the host and click "Configure" -> "Networking" -> "Virtual Switches". For each virtual switch and for each port group within that virtual switch, click edit. Go to "Security" and verify that "Promiscuous Mode" is set to "Reject". | Security devices that require the ability to see all packets on a vSwitch will not operate properly if the “Promiscuous Mode” policy is set to “Reject". | From the vSphere Web Client select the host and click "Configure" -> "Networking" -> "Virtual Switches". For each virtual switch and for each port group within that virtual switch, click Edit. Go to "Security" and set the "Promiscuous Mode" to "Reject". | https://code.vmware.com/apis/358/vsphere#/doc/vim.host.VirtualSwitch.Config.html | # esxcli network vswitch standard policy security get -v [VSWITCH] | # esxcli network vswitch standard policy security set -v vSwitch2 -p False | # esxcli <conn_options> network vswitch standard policy security get -v [VSWITCH] | # esxcli conn_options vswitch standard policy security set -v vSwitch2 -p False | Get-VirtualSwitch ¦ Get-SecurityPolicy Get-VirtualPortGroup ¦ Get-SecurityPolicy | Get-VirtualSwitch ¦ Get-SecurityPolicy ¦ Set-SecurityPolicy -AllowPromiscuous $False Get-VirtualPortGroup ¦ Get-SecurityPolicy ¦ Set-SecurityPolicy -AllowPromiscuousInherited $True | N/A | ​http://pubs.vmware.com/vsphere-67 Update Reference and API URLs /topic/com.vmware.vsphere.security.doc/GUID-92F3AB1F-B4C5-4F25-A010-8820D7250350.html | FALSE | FALSE | TRUE
vNetwork.restrict-netflow-usage | Ensure that VDS Netflow traffic is only being sent to authorized collector IPs | The vSphere VDS can export Netflow information about traffic crossing the VDS. Netflow exports are not encrypted and can contain information about the virtual network making it easier for a MITM attack to be executed successfully. If Netflow export is required, verify that all VDS Netflow target IP's are correct. | N/A | Site-Specific | NULL | No | Add | From vSphere Web Client, for each distributed switch go to "Configure" -> "Settings" -> "NetFlow". Verify that "Collector IP address" and "Collector port" are legitimate. | None | From vSphere Web Client, for each distributed switch go to "Configure" -> "Settings" -> "NetFlow". Click "Edit" and set the "Collector IP address" and "Collector port" as appropriate. | https://code.vmware.com/apis/196/vsphere#/doc/vim.DistributedVirtualSwitch.html | N/A | N/A | N/A | N/A | Get-VDPortgroup ¦ Select Name, VirtualSwitch, @{Name="NetflowEnabled";Expression={$_.Extensiondata.Config.defaultPortConfig.ipfixEnabled.Value}} ¦ Where-Object {$_.NetflowEnabled -eq "True"} | # Disable Netfow for a VDPortgroup $DPortgroup = <name of portgroup> Get-VDPortgroup $DPortGroup ¦ Disable-PGNetflow #Function for Disable-PGNetflow #From: http://www.virtu-al.net/2013/07/23/disabling-netflow-with-powercli/ Function Disable-PGNetflow { [CmdletBinding()] Param ( [Parameter(ValueFromPipeline=$True)] $DVPG ) Process { Foreach ($PG in $DVPG) { $spec = New-Object VMware.Vim.DVPortgroupConfigSpec $spec.configversion = $PG.Extensiondata.Config.ConfigVersion $spec.defaultPortConfig = New-Object VMware.Vim.VMwareDVSPortSetting $spec.defaultPortConfig.ipfixEnabled = New-Object VMware.Vim.BoolPolicy $spec.defaultPortConfig.ipfixEnabled.inherited = $False $spec.defaultPortConfig.ipfixEnabled.value = $False $PGView = Get-View -Id $PG.Id $PGView.ReconfigureDVPortgroup_Task($spec) } } } # Disable Netfow for a VDPortgroup #Get-VDPortgroup DPortGroup ¦ Disable-PGNetflow | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-FA661AE0-C0B5-4522-951D-A3790DBE70B4.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.networking.doc/GUID-55FCEC92-74B9-4E5F-ACC0-4EA1C36F397A.html | FALSE | TRUE | TRUE
vNetwork.restrict-port-level-overrides | Restrict port-level configuration overrides on VDS | Port-level configuration overrides are disabled by default. Sau khi được bật, điều này cho phép đặt các cài đặt bảo mật khác với cài đặt được thiết lập ở cấp độ Nhóm cổng. Có những trường hợp máy ảo cụ thể yêu cầu cấu hình duy nhất, nhưng điều này cần được giám sát để nó chỉ được sử dụng khi được ủy quyền. Nếu các phần ghi đè không được giám sát, bất kỳ ai có quyền truy cập vào máy ảo có cấu hình VDS kém an toàn hơn đều có thể lén lút khai thác quyền truy cập rộng hơn đó. | N/A | Disabled | Disabled | Yes | Audit Only | From vSphere Web Client, for each portgroup within each distributed switch go to "Configure" -> "Settings" -> "Properties". Verify that all "Override port policies" are "Disabled". | Specific port level overrides would be denied. | From vSphere Web Client, for each portgroup within each distributed switch go to "Configure" -> "Settings" -> "Properties". Click "Edit" and go to "Advanced". Disable all "Override port policies". | https://code.vmware.com/apis/196/vsphere#/doc/vim.DistributedVirtualSwitch.html | N/A | N/A | N/A | N/A | Get-VDPortgroup ¦ Get-VDPortgroupOverridePolicy |  | N/A | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-FA661AE0-C0B5-4522-951D-A3790DBE70B4.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.networking.doc/GUID-DDF5CD98-454A-471D-9053-03ABB8FE86D1.html | FALSE | FALSE | TRUE
vNetwork.verify-dvfilter-bind | Audit use of dvfilter network APIs | If you are not using a product such as VMware NSX that make use of the dvfilter network API, the host should not be configured to send network information to a IP Address. If the API is enabled and the system running at the IP address referenced is compromised then there is potential for that system to provide unauthorized access to the network of other VMs on the host. If you are using a product that makes use of this API then verify that the host has been configured correctly. | Net.DVFilterBindIpAddress | NULL | NULL | Yes | Audit Only | From vSphere web client, select a&nbsp; host and click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for Net.DVFilterBindIpAddress to see the configured value. It should be set to the desired value or to the IP address of the appropriate VM using dvfilter network APIs. | This will prevent a dvfilter-based network security appliance from functioning | From vSphere web client, select host and then click "Configure" -> "Settings" -> "System" -> "Advanced System settings". Filter for Net.DVFilterBindIpAddress to see the configured value. Click edit and set it to the desired value or to the IP address of the appropriate VM using dvfilter network APIs. | https://code.vmware.com/apis/196/vsphere#/doc/vim.option.OptionManager.html | # esxcli --formatter=csv --format-param=fields="Path,Int Value" system settings advanced list ¦ grep /Net/DVFilterBindIpAddress | # esxcli system settings advanced set -o /Net/DVFilterBindIpAddress -d | # esxcli <conn_options> --formatter=csv --format-param=fields="Path,Int Value" system settings advanced list ¦ grep /Net/DVFilterBindIpAddress | # esxcli conn_options system settings advanced set -o /Net/DVFilterBindIpAddress -d | Get-VMHost ¦ Get-AdvancedSetting -Name Net.DVFilterBindIpAddress | Get-VMHost ¦ Get-AdvancedSetting -Name Net.DVFilterBindIpAddress ¦ Set-AdvancedSetting -Value "" | NO | http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.security.doc/GUID-CD0783C9-1734-4B9A-B821-ED17A77B0206.html http://pubs.vmware.com/vsphere-67/topic/com.vmware.vsphere.ext_solutions.doc/GUID-6013E15D-92CE-4970-953C-ACCB36ADA8AD.html | FALSE | FALSE | TRUE